## stability check
CH4 std | CO2 std | Time | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File Name | CH4 % Diff | CO2 % Diff
200 | 10000 | 9:36 | 46.9605 | 10.864 | 2303.6742 | 207.901 | EDC_B_1 | NA | NA
200 | 10000 | 9:42 | 47.0006 | 10.875 | 2322.9776 | 209.789 | EDC_B_02 | 0.085354 | 0.83444
200 | 10000 | 9:47 | 46.9315 | 10.863 | 2321.4537 | 209.954 | EDC_B_03 | -0.14713 | -0.065623
[8 empty] | -100 | 0
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!

## std curve
CH4 std | CO2 std | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File name
1 | 500 | 0 | 0 | 127.1605 | 15.358 | EDC_B_04 |  |  | 0 | 0
1 | 500 | 0 | 0 | 126.6686 | 15.295 | EDC_B_05 | CH4 |  | 0 | 0
1 | 500 | 0 | 0 | 127.9452 | 15.414 | EDC_B_06 | Calibration check value | 45.5393 | 0 | 0
5 | 1000 | 0 | 0 | 267.1148 | 30.085 | EDC_B_07 | Max area | 2312.2793 | 500 | 127.1605
5 | 1000 | 0 | 0 | 264.9915 | 29.874 | EDC_B_08 |  |  | 500 | 126.6686
30 | 2000 | 3.9492 | 0.907 | 544.048 | 57.758 | EDC_B_09 |  |  | 500 | 127.9452
30 | 2000 | 3.9468 | 0.906 | 539.3546 | 57.279 | EDC_B_10 |  |  | 1000 | 267.1148
200 | 10000 | 47.6735 | 11.125 | 2496.0228 | 221.934 | EDC_B_11 |  |  | 1000 | 264.9915
200 | 10000 | 47.407 | 11.103 | 2476.7846 | 219.692 | EDC_B_12 |  |  | 2000 | 544.048
10000 | 20000 | 2300.493 | 437.401 | 4337.0869 | 341.741 | EDC_B_13 |  |  | 2000 | 539.3546
10000 | 20000 | 2292.5342 | 435.974 | 4306.9022 | 338.914 | EDC_B_14 |  |  | 10000 | 2496.0228
10000 | 20000 | 2343.237 | 44.933 | 4408.6956 | 344.513 | EDC_B_15 |  |  | 10000 | 2476.7846
CO2
[7 empty] | Calibration check value | 2491.25
[7 empty] | Max area | 4349.91
2491.25

## raw data
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dev CH4 | dev CO2 | dilution sample vol (ml) | dilution status
0206 | Sister3 | bottom | 1 | 2022-08-23 | 35.5316 | 8.378 | 314.161 | 34.981 | 2022-10-12 | EDC_B_16 | [5 empty] | std curve 200 ppm CH4 |  | 45.5393
0207 | Sister3 | bottom | 2 | 2022-08-23 | 20.772 | 5.061 | 223.199 | 25.545 | 2022-10-12 | EDC_B_17 | [5 empty] | std curve 1% CO2 |  | 2491.25
diluted 1% std | NA | NA | 1 | NA | 1.7838 | 0.387 | 7.9136 | 1.009 | 2022-10-12 | EDC_B_18 |  |  |  | 1 mL in 59 mL zero air
diluted 1% std | NA | NA | 2 | NA | 7.7162 | 1.831 | 27.2238 | 3.695 | 2022-10-12 | EDC_B_19 | [5 empty] | CH4 max area |  | 2312.2793
0208 | Sister3 | bottom | 3 | 2022-08-23 | 19.8148 | 4.85 | 239.8028 | 27.067 | 2022-10-12 | EDC_B_20 | [5 empty] | CO2 max area |  | 4349.91
0190 | Deans | inlet | 1 | 2022-08-16 | 60.4464 | 13.737 | 650.373 | 66.719 | 2022-10-12 | EDC_B_21
0191 | Deans | inlet | 2 | 2022-08-16 | 110.5558 | 24.116 | 964.2036 | 94.456 | 2022-10-12 | EDC_B_22
0192 | Deans | inlet | 3 | 2022-08-16 | 96.3228 | 21.195 | 839.2874 | 83.322 | 2022-10-12 | EDC_B_23
0226 | Deans | inlet | 1 | 2022-08-31 | 105.968 | 23.185 | 914.7454 | 89.661 | 2022-10-12 | EDC_B_24 | [5 empty] | 0.2313x - 0.7207
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.7576 | 10.973 | 2350.5912 | 200.518 | 2022-10-12 | EDC_B_25 |  | 2.64 | -5.8101 |  |  | 10.8279
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 47.2896 | 11.103 | 2403.9163 | 204.456 | 2022-10-12 | EDC_B_26 |  | 3.771 | -3.5682
0227 | Deans | inlet | 2 | 2022-08-31 | 191.275 | 40.872 | 1524.7582 | 139.202 | 2022-10-12 | EDC_B_27
0228 | Deans | inlet | 3 | 2022-08-31 | 158.6528 | 34.093 | 1465.0256 | 134.168 | 2022-10-12 | EDC_B_28 | [5 empty] | M1V1=M2V2
0231 | Deans | outlet | 3 | 2022-08-31 | 23.4947 | 5.742 | 314.7684 | 34.132 | 2022-10-12 | EDC_B_29
DIL1 | NA | NA | NA | NA | 1989.5816 | 384.814 | 3549.7964 | 274.693 | 2022-10-12 | EDC_B_30
DIL2 | NA | NA | NA | NA | 2065.7646 | 397.852 | 3659.4972 | 230.178 | 2022-10-12 | EDC_B_31 | [5 empty] | when running Picks start with top and bottom samples. If CH4 area <2 call me
DIL3 | NA | NA | NA | NA | 2061.4882 | 396.334 | 3663.024 | 279.89 | 2022-10-12 | EDC_B_32
0276 | Picks | top | 1 | 2022-09-13 | 852.0005 | 173.267 | 1885.1788 | 164.252 | 2022-10-12 | EDC_B_33
0277 | Picks | top | 2 | 2022-09-13 | 906.5927 | 183.893 | 1833.2309 | 160.373 | 2022-10-12 | EDC_B_34
0278 | Picks | top | 3 | 2022-09-13 | 889.5736 | 180.538 | 1859.445 | 161.925 | 2022-10-12 | EDC_B_35
0279 | Picks | bottom | 1 | 2022-09-13 | 1750.8737 | 339.63 | 2651.9897 | 216.116 | 2022-10-12 | EDC_B_36
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.96 | 11.074 | 2355.642 | 196.564 | 2022-10-12 | EDC_B_37 |  | 3.0718 | -5.5957
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 47.2878 | 11.1 | 2388.0868 | 198.936 | 2022-10-12 | EDC_B_38 |  | 3.7672 | -4.2286
0280 | Picks | bottom | 2 | 2022-09-13 | 873.332 | 177.041 | 1865.122 | 161.658 | 2022-10-12 | EDC_B_39
0281 | Picks | bottom | 3 | 2022-09-13 | 759.2256 | 155.273 | 1760.6266 | 153.797 | 2022-10-12 | EDC_B_40
0282 | Picks | inlet | 1 | 2022-09-13 | 103.6166 | 22.683 | 598.7557 | 60.252 | 2022-10-12 | EDC_B_41 | Needle bent
0283 | Picks | inlet | 2 | 2022-09-13 | 81.7146 | 18.193 | 566.7817 | 57.353 | 2022-10-12 | EDC_B_42
0284 | Picks | inlet | 3 | 2022-09-13 | 83.4702 | 18.555 | 628.1266 | 62.789 | 2022-10-12 | EDC_B_43
Diluted 1% std | NA | NA | NA | NA | 227.4822 | 48.068 | 434.5913 | 45.034 | 2022-10-12 | EDC_B_44 |  |  |  | 1 mL into 10 glass syringe
Diluted 1% std | NA | NA | NA | NA | 136.778 | 29.384 | 261.9242 | 28.584 | 2022-10-12 | EDC_B_45
Diluted 1% std | NA | NA | NA | NA | 205.2431 | 43.441 | 391.4739 | 40.926 | 2022-10-12 | EDC_B_46
Diluted 1% std | NA | NA | NA | NA | 228.1585 | 48.213 | 439.5168 | 45.344 | 2022-10-12 | EDC_B_47
Diluted 1% std | NA | NA | NA | NA | 244.8102 | 51.69 | 466.4042 | 47.795 | 2022-10-12 | EDC_B_48
Diluted 1% std | NA | NA | NA | NA | 242.5306 | 51.087 | 465.0728 | 47.648 | 2022-10-12 | EDC_B_49
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.7638 | 11.033 | 2305.8029 | 190.262 | 2022-10-12 | EDC_B_50 |  | 2.6532 | -7.7317
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.5694 | 10.998 | 2299.972 | 189.82 | 2022-10-12 | EDC_B_51 |  | 2.2367 | -7.9845
0285 | Picks | oulet | 1 | 2022-09-13 | 2.0856 | 0.47 | 624.8756 | 61.994 | 2022-10-12 | EDC_B_52
0286 | Picks | outlet | 2 | 2022-09-13 | 1.3746 | 0.304 | 478.1517 | 48.813 | 2022-10-12 | EDC_B_53
0218 | Deans | D3E | 4 | 2022-08-30 | 2377.4306 | 443.196 | 128.8876 | 15.12 | 2022-10-12 | EDC_B_54 |  |  |  | 1 mL into 10 glass syringe
0219 | Deans | 1A-2C | NA | 2022-08-31 | 1933.2566 | 368.407 | 32.6583 | 4.341 | 2022-10-12 | EDC_B_55 |  |  |  | 1 mL into 10 glass syringe
0220 | Deans | 2D-4A | NA | 2022-08-31 | 2087.518 | 395.082 | 38.986 | 5.146 | 2022-10-12 | EDC_B_56 |  |  |  | 1 mL into 10 glass syringe
0221 | Deans | 4B-5A | NA | 2022-08-31 | 4433.4391 | 755.398 | 35.752 | 4.724 | 2022-10-12 | EDC_B_57 |  |  |  | 1 mL into 10 glass syringe
0222 | Deans | 5B-5E | NA | 2022-08-31 | 3979.9503 | 691.157 | 38.2888 | 5.047 | 2022-10-12 | EDC_B_58 |  |  |  | 1 mL into 10 glass syringe
0221 | Deans | 4B-5A | NA | 2022-08-31 | 1836.6786 | 351.68 | 11.8378 | 1.526 | 2022-10-12 | EDC_B_59 | Rerun |  |  | 0.2 mL into 10 glass syringe
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.9406 | 11.051 | 2310.5092 | 189.369 | 2022-10-12 | EDC_B_60 |  | 3.0305 | -7.5281
0222 | Deans | 5B-5E | NA | 2022-08-31 | 1082.5272 | 215.613 | 5.294 | 0.654 | 2022-10-12 | EDC_B_61 | Rerun |  |  | 0.2 mL into 10 glass syringe |  |  | 2310.3264 | 2995.2732
0223 | Deans | Fresh bubbles | 1 | 2022-08-31 | 2310.3264 | 431.692 | 121.729 | 14.349 | 2022-10-12 | EDC_B_62 |  |  |  | 0.1 mL into 10 glass syringe |  |  | 9991.5569 | 12952.8487
0224 | Deans | Fresh bubbles | 2 | 2022-08-31 | 2134.5154 | 402.458 | 75.9841 | 9.482 | 2022-10-12 | EDC_B_63 |  |  |  | 0.1 mL into 10 glass syringe
0225 | Deans | Fresh bubbles | 3 | 8/31/22 | 838.3701 | 169.406 | 17.9769 | 2.357 | 2022-10-12 | EDC_B_64 |  |  |  | 0.1 mL into 10 glass syringe
0225 | Deans | Fresh bubbles | 3 | 8/31/22 | 1200.2003 | 237.622 | 31.2504 | 4.146 | 2022-10-12 | EDC_B_65 | Rerun |  |  | 0.1 mL into 10 glass syringe
0261 | Picks | P1D | 2 | 2022-09-13 | 2773.7724 | 507.061 | 72.7458 | 9.109 | 2022-10-12 | EDC_B_66 |  |  |  | 0.2 mL into 10 glass syringe
0261 | Picks | P1D | 2 | 2022-09-13 | 1592.4242 | 308.923 | 29.5488 | 3.916 | 2022-10-12 | EDC_B_67 | Rerun |  |  | 0.1 mL into 10 glass syringe
0262 | Picks | P1D | 4 | 2022-09-13 | 2995.2732 | 542.031 | 49.9881 | 6.475 | 2022-10-12 | EDC_B_68 | Outside std curve but did not rerun |  |  | 0.1 mL into 10 glass syringe
0263 | Picks | P5A | 5 | 2022-09-13 | 1004.1704 | 201.104 | 98.9094 | 11.955 | 2022-10-12 | EDC_B_69 |  |  |  | 0.1 mL into 10 glass syringe
0264 | Picks | P1D | 7 | 2022-09-14 | 2765.7104 | 505.769 | 56.101 | 7.212 | 2022-10-12 | EDC_B_70 |  |  |  | 0.1 mL into 10 glass syringe
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.9696 | 11.059 | 2275.2216 | 184.734 | 2022-10-12 | EDC_B_71 |  | 3.0922 | -9.0645
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.6668 | 11.031 | 2276.2444 | 184.829 | 2022-10-12 | EDC_B_72 |  | 2.4456 | -9.0196

## headpace equilibration
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dilution sample vol (ml) | dilution status | CO2 curve | Measured CH4 conc ppm | Measured CO2 conc ppm | Sample Vol | Final Vol | Undiluted CH4 conc ppm | Undiluted CO2 conc ppm
0206 | Sister3 | bottom | 1 | 2022-08-23 | 35.5316 | 8.378 | 314.161 | 34.981 | 2022-10-12 | EDC_B_16 | NA | NA | 0 | low | 177.7366 | 1432.0925 | NA | NA | 177.7366 | 1432.0925
0207 | Sister3 | bottom | 2 | 2022-08-23 | 20.772 | 5.061 | 223.199 | 25.545 | 2022-10-12 | EDC_B_17 | NA | NA | 0 | low | 105.3737 | 990.3796 | NA | NA | 105.3737 | 990.3796
diluted 1% std | NA | NA | 1 | NA | 1.7838 | 0.387 | 7.9136 | 1.009 | 2022-10-12 | EDC_B_18 | NA | 1 mL in 59 mL zero air | 1 | low | 12.279 | -55.0497 | 1 | 60 | 736.7388 | -3302.9843
diluted 1% std | NA | NA | 2 | NA | 7.7162 | 1.831 | 27.2238 | 3.695 | 2022-10-12 | EDC_B_19 | NA | NA | 0 | low | 41.3642 | 38.7209 | NA | NA | 41.3642 | 38.7209
0208 | Sister3 | bottom | 3 | 2022-08-23 | 19.8148 | 4.85 | 239.8028 | 27.067 | 2022-10-12 | EDC_B_20 | NA | NA | 0 | low | 100.6808 | 1071.0079 | NA | NA | 100.6808 | 1071.0079
0190 | Deans | inlet | 1 | 2022-08-16 | 60.4464 | 13.737 | 650.373 | 66.719 | 2022-10-12 | EDC_B_21 | NA | NA | 0 | low | 299.888 | 3064.7433 | NA | NA | 299.888 | 3064.7433
0191 | Deans | inlet | 2 | 2022-08-16 | 110.5558 | 24.116 | 964.2036 | 94.456 | 2022-10-12 | EDC_B_22 | NA | NA | 0 | low | 545.5627 | 4588.7096 | NA | NA | 545.5627 | 4588.7096
0192 | Deans | inlet | 3 | 2022-08-16 | 96.3228 | 21.195 | 839.2874 | 83.322 | 2022-10-12 | EDC_B_23 | NA | NA | 0 | low | 475.7816 | 3982.1146 | NA | NA | 475.7816 | 3982.1146
0226 | Deans | inlet | 1 | 2022-08-31 | 105.968 | 23.185 | 914.7454 | 89.661 | 2022-10-12 | EDC_B_24 | NA | NA | 0 | low | 523.0698 | 4348.5398 | NA | NA | 523.0698 | 4348.5398
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.7576 | 10.973 | 2350.5912 | 200.518 | 2022-10-12 | EDC_B_25 | NA | NA | 0 | low | 205.2672 | 9430.9919 | NA | NA | 205.2672 | 9430.9919
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 47.2896 | 11.103 | 2403.9163 | 204.456 | 2022-10-12 | EDC_B_26 | NA | NA | 0 | low | 207.5672 | 9646.7083 | NA | NA | 207.5672 | 9646.7083
0227 | Deans | inlet | 2 | 2022-08-31 | 191.275 | 40.872 | 1524.7582 | 139.202 | 2022-10-12 | EDC_B_27 | NA | NA | 0 | low | 941.3101 | 7310.7716 | NA | NA | 941.3101 | 7310.7716
0228 | Deans | inlet | 3 | 2022-08-31 | 158.6528 | 34.093 | 1465.0256 | 134.168 | 2022-10-12 | EDC_B_28 | NA | NA | 0 | low | 781.3711 | 7020.7092 | NA | NA | 781.3711 | 7020.7092
0231 | Deans | outlet | 3 | 2022-08-31 | 23.4947 | 5.742 | 314.7684 | 34.132 | 2022-10-12 | EDC_B_29 | NA | NA | 0 | low | 118.7225 | 1435.042 | NA | NA | 118.7225 | 1435.042
DIL1 | NA | NA | NA | NA | 1989.5816 | 384.814 | 3549.7964 | 274.693 | 2022-10-12 | EDC_B_30 | NA | NA | 0 | high | 9757.9879 | 18855.4488 | NA | NA | 9757.9879 | 18855.4488
DIL2 | NA | NA | NA | NA | 2065.7646 | 397.852 | 3659.4972 | 230.178 | 2022-10-12 | EDC_B_31 | NA | NA | 0 | high | 10131.4954 | 19561.9167 | NA | NA | 10131.4954 | 19561.9167
DIL3 | NA | NA | NA | NA | 2061.4882 | 396.334 | 3663.024 | 279.89 | 2022-10-12 | EDC_B_32 | NA | NA | 0 | high | 10110.5292 | 19584.6291 | NA | NA | 10110.5292 | 19584.6291
0276 | Picks | top | 1 | 2022-09-13 | 852.0005 | 173.267 | 1885.1788 | 164.252 | 2022-10-12 | EDC_B_33 | NA | NA | 0 | low | 4180.6931 | 9060.9798 | NA | NA | 4180.6931 | 9060.9798
0277 | Picks | top | 2 | 2022-09-13 | 906.5927 | 183.893 | 1833.2309 | 160.373 | 2022-10-12 | EDC_B_34 | NA | NA | 0 | low | 4448.346 | 8808.7199 | NA | NA | 4448.346 | 8808.7199
0278 | Picks | top | 3 | 2022-09-13 | 889.5736 | 180.538 | 1859.445 | 161.925 | 2022-10-12 | EDC_B_35 | NA | NA | 0 | low | 4364.9053 | 8936.016 | NA | NA | 4364.9053 | 8936.016
0279 | Picks | bottom | 1 | 2022-09-13 | 1750.8737 | 339.63 | 2651.9897 | 216.116 | 2022-10-12 | EDC_B_36 | NA | NA | 0 | high | 8587.6588 | 13073.6164 | NA | NA | 8587.6588 | 13073.6164
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.96 | 11.074 | 2355.642 | 196.564 | 2022-10-12 | EDC_B_37 | NA | NA | 0 | low | 206.1422 | 9451.4239 | NA | NA | 206.1422 | 9451.4239
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 47.2878 | 11.1 | 2388.0868 | 198.936 | 2022-10-12 | EDC_B_38 | NA | NA | 0 | low | 207.5594 | 9582.6731 | NA | NA | 207.5594 | 9582.6731
0280 | Picks | bottom | 2 | 2022-09-13 | 873.332 | 177.041 | 1865.122 | 161.658 | 2022-10-12 | EDC_B_39 | NA | NA | 0 | low | 4285.2765 | 8963.5836 | NA | NA | 4285.2765 | 8963.5836
0281 | Picks | bottom | 3 | 2022-09-13 | 759.2256 | 155.273 | 1760.6266 | 153.797 | 2022-10-12 | EDC_B_40 | NA | NA | 0 | low | 3725.8394 | 8456.1523 | NA | NA | 3725.8394 | 8456.1523
0282 | Picks | inlet | 1 | 2022-09-13 | 103.6166 | 22.683 | 598.7557 | 60.252 | 2022-10-12 | EDC_B_41 | Needle bent | NA | 0 | low | 511.5414 | 2814.0888 | NA | NA | 511.5414 | 2814.0888
0283 | Picks | inlet | 2 | 2022-09-13 | 81.7146 | 18.193 | 566.7817 | 57.353 | 2022-10-12 | EDC_B_42 | NA | NA | 0 | low | 404.161 | 2658.8226 | NA | NA | 404.161 | 2658.8226
0284 | Picks | inlet | 3 | 2022-09-13 | 83.4702 | 18.555 | 628.1266 | 62.789 | 2022-10-12 | EDC_B_43 | NA | NA | 0 | low | 412.7683 | 2956.7144 | NA | NA | 412.7683 | 2956.7144
Diluted 1% std | NA | NA | NA | NA | 227.4822 | 48.068 | 434.5913 | 45.034 | 2022-10-12 | EDC_B_44 | NA | 1 mL into 10 glass syringe | 1 | low | 1118.8256 | 2016.9039 | 1 | 10 | 11188.2559 | 20169.0392
Diluted 1% std | NA | NA | NA | NA | 136.778 | 29.384 | 261.9242 | 28.584 | 2022-10-12 | EDC_B_45 | NA | NA | 1 | low | 674.1241 | 1178.4298 | 1 | 10 | 6741.2405 | 11784.2975
Diluted 1% std | NA | NA | NA | NA | 205.2431 | 43.441 | 391.4739 | 40.926 | 2022-10-12 | EDC_B_46 | NA | NA | 1 | low | 1009.7925 | 1807.5251 | 1 | 10 | 10097.9247 | 18075.2515
Diluted 1% std | NA | NA | NA | NA | 228.1585 | 48.213 | 439.5168 | 45.344 | 2022-10-12 | EDC_B_47 | NA | NA | 1 | low | 1122.1413 | 2040.8222 | 1 | 10 | 11221.4133 | 20408.2223
Diluted 1% std | NA | NA | NA | NA | 244.8102 | 51.69 | 466.4042 | 47.795 | 2022-10-12 | EDC_B_48 | NA | NA | 1 | low | 1203.7807 | 2171.3879 | 1 | 10 | 12037.8073 | 21713.8787
Diluted 1% std | NA | NA | NA | NA | 242.5306 | 51.087 | 465.0728 | 47.648 | 2022-10-12 | EDC_B_49 | NA | NA | 1 | low | 1192.6044 | 2164.9226 | 1 | 10 | 11926.0438 | 21649.2257
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.7638 | 11.033 | 2305.8029 | 190.262 | 2022-10-12 | EDC_B_50 | NA | NA |  | low | 205.294 | 9249.8095 | NA | NA | 205.294 | 9249.8095
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.5694 | 10.998 | 2299.972 | 189.82 | 2022-10-12 | EDC_B_51 | NA | NA |  | low | 204.4535 | 9226.2217 | NA | NA | 204.4535 | 9226.2217
0285 | Picks | oulet | 1 | 2022-09-13 | 2.0856 | 0.47 | 624.8756 | 61.994 | 2022-10-12 | EDC_B_52 | NA | NA |  | low | 13.7586 | 2940.9275 | NA | NA | 13.7586 | 2940.9275
0286 | Picks | outlet | 2 | 2022-09-13 | 1.3746 | 0.304 | 478.1517 | 48.813 | 2022-10-12 | EDC_B_53 | NA | NA |  | low | 10.2728 | 2228.4339 | NA | NA | 10.2728 | 2228.4339
0218 | Deans | D3E | 4 | 2022-08-30 | 2377.4306 | 443.196 | 128.8876 | 15.12 | 2022-10-12 | EDC_B_54 | NA | 1 mL into 10 glass syringe | 1 | low | 11659.5211 | 532.4019 | 1 | 10 | 116595.2109 | 5324.0192
0219 | Deans | 1A-2C | NA | 2022-08-31 | 1933.2566 | 368.407 | 32.6583 | 4.341 | 2022-10-12 | EDC_B_55 | NA | 1 mL into 10 glass syringe | 1 | low | 9481.8396 | 65.1109 | 1 | 10 | 94818.3958 | 651.1092
0220 | Deans | 2D-4A | NA | 2022-08-31 | 2087.518 | 395.082 | 38.986 | 5.146 | 2022-10-12 | EDC_B_56 | NA | 1 mL into 10 glass syringe | 1 | low | 10238.1472 | 95.8383 | 1 | 10 | 102381.4724 | 958.3833
0221 | Deans | 4B-5A | NA | 2022-08-31 | 4433.4391 | 755.398 | 35.752 | 4.724 | 2022-10-12 | EDC_B_57 | NA | 1 mL into 10 glass syringe | 1 | low | 21739.6512 | 80.134 | 1 | 10 | 217396.5118 | 801.3397
0222 | Deans | 5B-5E | NA | 2022-08-31 | 3979.9503 | 691.157 | 38.2888 | 5.047 | 2022-10-12 | EDC_B_58 | NA | 1 mL into 10 glass syringe | 1 | low | 19516.3014 | 92.4527 | 1 | 10 | 195163.0137 | 924.5271
0221 | Deans | 4B-5A | NA | 2022-08-31 | 1836.6786 | 351.68 | 11.8378 | 1.526 | 2022-10-12 | EDC_B_59 | Rerun | 0.2 mL into 10 glass syringe | 1 | low | 9008.3402 | -35.9938 | 0.2 | 10 | 450417.0086 | -1799.688
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.9406 | 11.051 | 2310.5092 | 189.369 | 2022-10-12 | EDC_B_60 | NA | NA | 0 | low | 206.0584 | 9268.8479 | NA | NA | 206.0584 | 9268.8479
0222 | Deans | 5B-5E | NA | 2022-08-31 | 1082.5272 | 215.613 | 5.294 | 0.654 | 2022-10-12 | EDC_B_61 | Rerun | 0.2 mL into 10 glass syringe | 1 | low | 5310.9118 | -67.7706 | 0.2 | 10 | 265545.5886 | -3388.5278
0223 | Deans | Fresh bubbles | 1 | 2022-08-31 | 2310.3264 | 431.692 | 121.729 | 14.349 | 2022-10-12 | EDC_B_62 | NA | 0.1 mL into 10 glass syringe | 1 | low | 11330.5249 | 497.6396 | 0.1 | 10 | 1133052.4851 | 49763.9645
0224 | Deans | Fresh bubbles | 2 | 2022-08-31 | 2134.5154 | 402.458 | 75.9841 | 9.482 | 2022-10-12 | EDC_B_63 | NA | 0.1 mL into 10 glass syringe | 1 | low | 10468.5645 | 275.5017 | 0.1 | 10 | 1046856.4528 | 27550.1687
0225 | Deans | Fresh bubbles | 3 | 8/31/22 | 838.3701 | 169.406 | 17.9769 | 2.357 | 2022-10-12 | EDC_B_64 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4113.8665 | -6.1822 | 0.1 | 10 | 411386.6464 | -618.2194
0225 | Deans | Fresh bubbles | 3 | 8/31/22 | 1200.2003 | 237.622 | 31.2504 | 4.146 | 2022-10-12 | EDC_B_65 | Rerun | 0.1 mL into 10 glass syringe | 1 | low | 5887.8355 | 58.2741 | 0.1 | 10 | 588783.5533 | 5827.4132
0261 | Picks | P1D | 2 | 2022-09-13 | 2773.7724 | 507.061 | 72.7458 | 9.109 | 2022-10-12 | EDC_B_66 | NA | 0.2 mL into 10 glass syringe | 1 | low | 13602.6925 | 259.7765 | 0.2 | 10 | 680134.6242 | 12988.8225
0261 | Picks | P1D | 2 | 2022-09-13 | 1592.4242 | 308.923 | 29.5488 | 3.916 | 2022-10-12 | EDC_B_67 | Rerun | 0.1 mL into 10 glass syringe | 1 | low | 7810.8178 | 50.0111 | 0.1 | 10 | 781081.7824 | 5001.1136
0262 | Picks | P1D | 4 | 2022-09-13 | 2995.2732 | 542.031 | 49.9881 | 6.475 | 2022-10-12 | EDC_B_68 | Outside std curve but did not rerun | 0.1 mL into 10 glass syringe | 1 | low | 14688.6592 | 149.2647 | 0.1 | 10 | 1468865.9239 | 14926.47
0263 | Picks | P5A | 5 | 2022-09-13 | 1004.1704 | 201.104 | 98.9094 | 11.955 | 2022-10-12 | EDC_B_69 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4926.7467 | 386.8273 | 0.1 | 10 | 492674.666 | 38682.7306
0264 | Picks | P1D | 7 | 2022-09-14 | 2765.7104 | 505.769 | 56.101 | 7.212 | 2022-10-12 | EDC_B_70 | NA | 0.1 mL into 10 glass syringe | 1 | low | 13563.1664 | 178.949 | 0.1 | 10 | 1356316.6379 | 17894.9039
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.9696 | 11.059 | 2275.2216 | 184.734 | 2022-10-12 | EDC_B_71 | NA | NA | 0 | low | 206.1837 | 9126.0987 | NA | NA | 206.1837 | 9126.0987
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 46.6668 | 11.031 | 2276.2444 | 184.829 | 2022-10-12 | EDC_B_72 | NA | NA | 0 | low | 204.8746 | 9130.2362 | NA | NA | 204.8746 | 9130.2362

## std curve (2)
CH4 std | CO2 std | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File name
1 | 500 | 0 | 0 | 120.9524 | 14.369 | EDC_B_73 | Calibration check value | 45.5393
5 | 1000 | 0 | 0 | 252.2774 | 27.34 | EDC_B_74 | Max area | 2312.2793
30 | 2000 | 3.6408 | 0.845 | 519.7102 | 52.071 | EDC_B_75
200 | 10000 | 46.8228 | 11.07 | 2313.7784 | 188.025 | EDC_B_76
10000 | 20000 | 2299.2446 | 437.058 | 3901.4295 | 283.492 | EDC_B_77
CO2
[7 empty] | Calibration check value | 2318.87
[7 empty] | Max area | 40945.29

## raw data (2)
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dev CH4 | dev CO2 | dilution sample vol (ml) | dilution status
0265 | Picks | P2A | 7 | 2022-09-14 | 2179.6105 | 410.1 | 79.7596 | 9.865 | 2022-10-12 | EDC_B_78 |  |  |  | 0.1 mL into 10 glass syringe |  | std curve 200 ppm CH4 |  | 45.5393
0266 | Picks | P1D | 8 | 2022-09-14 | 1480.4161 | 288.822 | 22.1264 | 2.897 | 2022-10-12 | EDC_B_79 |  |  |  | 0.1 mL into 10 glass syringe |  | std curve 1% CO2 |  | 2312.2793
0267 | Picks | 1A-1D | NA | 2022-09-14 | 1769.9856 | 340.648 | 52.593 | 6.805 | 2022-10-12 | EDC_B_81 |  |  |  | 0.1 mL into 10 glass syringe
0268 | Picks | 1E-2C | NA | 2022-09-14 | 1833.8744 | 351.364 | 23.5824 | 3.108 | 2022-10-12 | EDC_B_82 |  |  |  | 0.1 mL into 10 glass syringe |  | CH4 max area |  | 2318.87
0270 | Picks | 2D-3B | NA | 2022-09-14 | 268.0817 | 56.281 | 5.6563 | 0.688 | 2022-10-12 | EDC_B_83 |  |  |  | 0.1 mL into 10 glass syringe |  | CO2 max area |  | 40945.29
0271 | Picks | 3C-4E | NA | 2022-09-14 | 1720.4938 | 331.52 | 20.4289 | 2.699 | 2022-10-12 | EDC_B_84 |  |  |  | 0.1 mL into 10 glass syringe
0272 | Picks | 5A-5E | NA | 2022-09-14 | 1163.9667 | 230.958 | 10.2942 | 1.297 | 2022-10-12 | EDC_B_85 |  |  |  | 0.1 mL into 10 glass syringe
0273 | Picks | Fresh bubbles | 1 | 2022-09-14 | 1008.2082 | 201.958 | 22.0295 | 2.891 | 2022-10-12 | EDC_B_86 |  |  |  | 0.1 mL into 10 glass syringe
0274 | Picks | Fresh bubbles | 2 | 2022-09-14 | 0 | 0 | 0 | 0 | 2022-10-12 | EDC_B_87 | no over-pressure, started to pull on inserting needle |  |  | 0.1 mL into 10 glass syringe
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | 2022-09-14 | 45.8704 | 10.88 | 2216.3536 | 179.623 | 2022-10-12 | EDC_B_88 |  | 0.72443 | -4.2364
0275 | Picks | Fresh bubbles | 3 | 2022-09-14 | 2933.7212 | 532.321 | 125.194 | 14.589 | 2022-10-12 | EDC_B_89 |  |  |  | 0.1 mL into 10 glass syringe
0176 | Deans | D1A-D3B | NA | 2022-08-17 | 186.23 | 39.571 | 4.2393 | 0.519 | 2022-10-12 | EDC_B_90 |  |  |  | 0.1 mL into 10 glass syringe
0177 | Deans | D3C-D5B | NA | 2022-08-17 | 1091.6321 | 217.754 | 5.6905 | 0.706 | 2022-10-12 | EDC_B_91 |  |  |  | 0.1 mL into 10 glass syringe
0178 | Deans | Fresh bubbles | 1 | 2022-08-17 | 2168.0764 | 408.354 | 97.198 | 11.723 | 2022-10-12 | EDC_B_92 |  |  |  | 0.1 mL into 10 glass syringe
0179 | Deans | Fresh bubbles | 2 | 2022-08-17 | 118.8792 | 25.775 | 3.316 | 0.392 | 2022-10-12 | EDC_B_93 |  |  |  | 0.1 mL into 10 glass syringe
0180 | Deans | Fresh bubbles | 3 | 2022-08-17 | 2320.1184 | 433.871 | 76.8284 | 9.526 | 2022-10-12 | EDC_B_94 |  |  |  | 0.1 mL into 10 glass syringe
0193 | Sister 3 | P3B | 4 | 2022-08-22 | 25.6732 | 6.245 | 1.194 | 0.152 | 2022-10-12 | EDC_B_95 |  |  |  | 0.1 mL into 10 glass syringe
0193 | Sister 3 | P3B | 4 | 2022-08-22 | 1561.6883 | 304.122 | 130.8358 | 15.199 | 2022-10-12 | EDC_B_96 | Not diluted |  |  | NA
0194 | Sister 3 | P5C | 6 | 2022-08-23 | 2737.9244 | 502.026 | 12.0736 | 1.547 | 2022-10-12 | EDC_B_97 |  |  |  | 0.1 mL into 10 glass syringe
0195 | Sister 3 | 1B-3D | NA | 2022-08-23 | 407.3347 | 84.46 | 1.9666 | 0.231 | 2022-10-12 | EDC_B_98 | I think this should say diluted
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 45.8932 | 10.899 | 2205.779 | 177.797 | 2022-10-12 | EDC_B_99 |  | 0.77412 | -4.7144
[17 empty] | 2310.3264 | 2995.2732
[17 empty] | 9991.5569 | 12952.8487

## Sheet1
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dilution sample vol (ml) | dilution status | CO2 Curve | Measured CH4 conc ppm | Measured CO2 conc ppm | Sample Vol | Final Vol | Undiluted CH4 conc ppm | Undiluted CO2 conc ppm
0265 | Picks | P2A | 7 | 2022-09-14 | 2179.6105 | 410.1 | 79.7596 | 9.865 | 2022-10-12 | EDC_B_78 | NA | 0.1 mL into 10 glass syringe |  | low | 10689.6528 | 266.7609 | 0.1 | 10 | 1068965.2833 | 26676.0863
0266 | Picks | P1D | 8 | 2022-09-14 | 1480.4161 | 288.822 | 22.1264 | 2.897 | 2022-10-12 | EDC_B_79 | NA | 0.1 mL into 10 glass syringe |  | low | 7261.6658 | -35.3496 | 0.1 | 10 | 726166.5785 | -3534.9631
0267 | Picks | 1A-1D | NA | 2022-09-14 | 1769.9856 | 340.648 | 52.593 | 6.805 | 2022-10-12 | EDC_B_81 | NA | 0.1 mL into 10 glass syringe |  | low | 8681.3575 | 124.3548 | 0.1 | 10 | 868135.7498 | 12435.4838
0268 | Picks | 1E-2C | NA | 2022-09-14 | 1833.8744 | 351.364 | 23.5824 | 3.108 | 2022-10-12 | EDC_B_82 | NA | 0.1 mL into 10 glass syringe |  | low | 8994.5894 | -27.7173 | 0.1 | 10 | 899458.9382 | -2771.7348
0270 | Picks | 2D-3B | NA | 2022-09-14 | 268.0817 | 56.281 | 5.6563 | 0.688 | 2022-10-12 | EDC_B_83 | NA | 0.1 mL into 10 glass syringe |  | low | 1317.873 | -121.6851 | 0.1 | 10 | 131787.3014 | -12168.5111
0271 | Picks | 3C-4E | NA | 2022-09-14 | 1720.4938 | 331.52 | 20.4289 | 2.699 | 2022-10-12 | EDC_B_84 | NA | 0.1 mL into 10 glass syringe |  | low | 8438.7107 | -44.2478 | 0.1 | 10 | 843871.0747 | -4424.7845
0272 | Picks | 5A-5E | NA | 2022-09-14 | 1163.9667 | 230.958 | 10.2942 | 1.297 | 2022-10-12 | EDC_B_85 | NA | 0.1 mL into 10 glass syringe |  | low | 5710.1882 | -97.3735 | 0.1 | 10 | 571018.8193 | -9737.346
0273 | Picks | Fresh bubbles | 1 | 2022-09-14 | 1008.2082 | 201.958 | 22.0295 | 2.891 | 2022-10-12 | EDC_B_86 | NA | 0.1 mL into 10 glass syringe |  | low | 4946.5406 | -35.8576 | 0.1 | 10 | 494654.06 | -3585.7576
0274 | Picks | Fresh bubbles | 2 | 2022-09-14 | 0 | 0 | 0 | 0 | 2022-10-12 | EDC_B_87 | no over-pressure, started to pull on inserting needle | 0.1 mL into 10 glass syringe |  | low | 3.531 | -151.3352 | 0.1 | 10 | 353.0973 | -15133.5167
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | 2022-09-14 | 45.8704 | 10.88 | 2216.3536 | 179.623 | 2022-10-12 | EDC_B_88 | NA | NA | NA | low | 201.4293 | 9552.3301 | NA | NA | 201.4293 | 9552.3301
0275 | Picks | Fresh bubbles | 3 | 2022-09-14 | 2933.7212 | 532.321 | 125.194 | 14.589 | 2022-10-12 | EDC_B_89 | NA | 0.1 mL into 10 glass syringe |  | low | 14386.8817 | 504.9258 | 0.1 | 10 | 1438688.1689 | 50492.5827
0176 | Deans | D1A-D3B | NA | 2022-08-17 | 186.23 | 39.571 | 4.2393 | 0.519 | 2022-10-12 | EDC_B_90 | NA | 0.1 mL into 10 glass syringe |  | low | 916.5732 | -129.113 | 0.1 | 10 | 91657.3222 | -12911.2958
0177 | Deans | D3C-D5B | NA | 2022-08-17 | 1091.6321 | 217.754 | 5.6905 | 0.706 | 2022-10-12 | EDC_B_91 | NA | 0.1 mL into 10 glass syringe |  | low | 5355.5485 | -121.5058 | 0.1 | 10 | 535554.8522 | -12150.5837
0178 | Deans | Fresh bubbles | 1 | 2022-08-17 | 2168.0764 | 408.354 | 97.198 | 11.723 | 2022-10-12 | EDC_B_92 | NA | 0.1 mL into 10 glass syringe |  | low | 10633.1038 | 358.1721 | 0.1 | 10 | 1063310.3831 | 35817.2127
0179 | Deans | Fresh bubbles | 2 | 2022-08-17 | 118.8792 | 25.775 | 3.316 | 0.392 | 2022-10-12 | EDC_B_93 | NA | 0.1 mL into 10 glass syringe |  | low | 586.368 | -133.9529 | 0.1 | 10 | 58636.796 | -13395.2853
0180 | Deans | Fresh bubbles | 3 | 2022-08-17 | 2320.1184 | 433.871 | 76.8284 | 9.526 | 2022-10-12 | EDC_B_94 | NA | 0.1 mL into 10 glass syringe |  | low | 11378.5303 | 251.3957 | 0.1 | 10 | 1137853.0291 | 25139.5652
0193 | Sister 3 | P3B | 4 | 2022-08-22 | 25.6732 | 6.245 | 1.194 | 0.152 | 2022-10-12 | EDC_B_95 | NA | 0.1 mL into 10 glass syringe |  | low | 129.4007 | -145.0763 | 0.1 | 10 | 12940.0684 | -14507.6276
0193 | Sister 3 | P3B | 4 | 2022-08-22 | 1561.6883 | 304.122 | 130.8358 | 15.199 | 2022-10-12 | EDC_B_96 | Not diluted | NA | NA | low | 7660.1244 | 534.4999 | NA | NA | 7660.1244 | 534.4999
0194 | Sister 3 | P5C | 6 | 2022-08-23 | 2737.9244 | 502.026 | 12.0736 | 1.547 | 2022-10-12 | EDC_B_97 | NA | 0.1 mL into 10 glass syringe |  | low | 13426.9357 | -88.0459 | 0.1 | 10 | 1342693.5651 | -8804.593
0195 | Sister 3 | 1B-3D | NA | 2022-08-23 | 407.3347 | 84.46 | 1.9666 | 0.231 | 2022-10-12 | EDC_B_98 | I think this should say diluted | 0.1 mL into 10 glass syringe |  | low | 2000.598 | -141.0263 | 0.1 | 10 | 200059.7991 | -14102.6343
calibration check (200 ppm CH4, 10000 CO2) | NA | NA | NA | NA | 45.8932 | 10.899 | 2205.779 | 177.797 | 2022-10-12 | EDC_B_99 | NA | NA | NA | low | 201.5279 | 9506.1528 | NA | NA | 201.5279 | 9506.1528

## run calibration check
ID | Vial | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | dev CH4 | dev Co2
1 | [7 empty] | #DIV/0! | #DIV/0! | std curve 30 ppm CH4 | 0
2 | [7 empty] | #DIV/0! | #DIV/0! | std curve 2000 ppm CO2 | 0
3 | [7 empty] | #DIV/0! | #DIV/0!
4 | [7 empty] | #DIV/0! | #DIV/0!
5 | [7 empty] | #DIV/0! | #DIV/0!
6 | [7 empty] | #DIV/0! | #DIV/0!
7 | [7 empty] | #DIV/0! | #DIV/0!
8 | [7 empty] | #DIV/0! | #DIV/0!
9 | [7 empty] | #DIV/0! | #DIV/0!
10 | [7 empty] | #DIV/0! | #DIV/0!
11 | [7 empty] | #DIV/0! | #DIV/0!

## dilution factor
Date | 2022-10-12
CH4 conc | 10000 ppm
CO2 conc | 20000 ppm
Vial # | CH4 Peak area | CH4 Peak hgt | CO2 Peak area | CO2 Peak hgt |  | Std area | Raw data area | Avg area | Dilution Factor
Dilution 1 | 1989.5816 | 384.814 | 3549.7964 | 274.693 | CH4 | 2312.2793 | 2312.0881 | 2312.1837 | 1.134
Dilution 2 | 2065.7646 | 397.852 | 3659.4972 | 230.178 | CO2 | 4349.91 | 4350.8949 | 4350.4024 | 1.2004
Dilution 3 | 2061.4882 | 396.334 | 3663.024 | 279.89
Avg area | 2038.9448 |  | 3624.1059