## stability check
CH4 std | CO2 std | Time | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File Name | CH4 % Diff | CO2 % Diff
200 | 10000 | 8:45 | 45.8112 | 10.656 | 2205.2362 | 201.581 | EDC_B_103 | NA | NA
200 | 10000 | 8:51 | 45.9236 | 10.677 | 2214.974 | 202.297 | EDC_C_02 | 0.24505 | 0.4406
200 | 10000 | 8:57 | 45.9814 | 10.683 | 2219.6817 | 202.896 | EDC_C_03 | 0.12578 | -99.8938
[8 empty] | -100 | 0
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!

## std curve
CH4 std | CO2 std | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File name
1 | 500 | 0 | 0 | 124.3362 | 15.083 | EDC_C_04 | CH4
1 | 500 | 0 | 0 | 124.916 | 15.145 | EDC_C_05 | Calibration check value | 45.0286
5 | 1000 | 0 | 0 | 254.2419 | 28.824 | EDC_C_06 | Max area | 2312.7486
5 | 1000 | 0 | 0 | 251.4336 | 28.483 | EDC_C_07
30 | 2000 | 3.7963 | 0.873 | 516.9773 | 55.019 | EDC_C_08
30 | 2000 | 3.7412 | 0.858 | 511.4725 | 54.471 | EDC_C_09
200 | 10000 | 46.8935 | 11.016 | 2408.4568 | 214.97 | EDC_C_10
200 | 10000 | 46.8939 | 10.989 | 2391.1432 | 213.593 | EDC_C_11
10000 | 20000 | 2317.6621 | 441.515 | 4189.4888 | 333.083 | EDC_C_12
10000 | 20000 | 2308.2924 | 439.982 | 4159.9634 | 330.379 | EDC_C_13
CO2
[7 empty] | Calibration check value | 2403.084
[7 empty] | Max area | 4174.87
medium gain

## raw data
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dev CH4 | dev CO2 | dilution sample vol (ml) | dilution status
0196 | Sister3 | 3E-4D | NA | 2022-08-23 | 1019.5473 | 204.083 | 4.0564 | 0.506 | 2022-10-13 | EDC_C_14 |  |  |  | 0.1 mL into 10 glass syringe |  |  | std curve 200 ppm CH4 | 45.0286
0197 | Sister3 | 4E,5B | NA | 2022-08-23 | 1113.909 | 221.98 | 2.7138 | 0.33 | 2022-10-13 | EDC_C_15 |  |  |  | 0.1 mL into 10 glass syringe |  |  | std curve 10000 ppm CO2 | 2403.084
0198 | Sister3 | 5C-5D | NA | 2022-08-24 | 1757.2498 | 338.695 | 16.5269 | 2.216 | 2022-10-13 | EDC_C_16 |  |  |  | 0.1 mL into 10 glass syringe
0199 | Sister3 | 5E | NA | 2022-08-25 | 1992.9755 | 379.798 | 14.199 | 1.878 | 2022-10-13 | EDC_C_17 |  |  |  | 0.1 mL into 10 glass syringe |  |  | CH4 max area | 2312.7486
0200 | Sister3 | Fresh bubbles | 1 | 2022-08-23 | 2523.0837 | 467.863 | 33.5343 | 4.508 | 2022-10-13 | EDC_C_18 |  |  |  | 0.1 mL into 10 glass syringe |  |  | CO2 max area | 4174.87
0201 | Sister3 | Fresh bubbles | 2 | 2022-08-23 | 885.5455 | 178.519 | 11.7728 | 1.517 | 2022-10-13 | EDC_C_19 |  |  |  | 0.1 mL into 10 glass syringe
0202 | Sister3 | Fresh bubbles | 3 | 2022-08-23 | 2072.6996 | 393.167 | 90.33 | 11.22 | 2022-10-13 | EDC_C_20 |  |  |  | 0.1 mL into 10 glass syringe
0238 | Catfish | C5D | NA | 2022-09-06 | 2459.8592 | 457.969 | 278.1262 | 30.638 | 2022-10-13 | EDC_C_21 |  |  |  | 0.1 mL into 10 glass syringe
0239 | Catfish | C5A | NA | 2022-09-07 | 1913.7469 | 365.757 | 82.9936 | 10.397 | 2022-10-13 | EDC_C_22 |  |  |  | 0.1 mL into 10 glass syringe
calibration check | NA | NA | NA | NA | 68.975 | 15.723 | 2269.1286 | 193.493 | 2022-10-13 | EDC_C_23 |  |  |  |  | 42.0099 | -5.7341
calibration check | NA | NA | NA | NA | 46.7321 | 11.03 | 2304.9092 | 196.327 | 2022-10-13 | EDC_C_24 |  |  |  |  | 3.7129 | -4.1706
0240 | Catfish | 2A-2D | NA | 2022-09-07 | 994.1363 | 199.375 | 6.9836 | 0.872 | 2022-10-13 | EDC_C_25 |  |  |  | 0.1 mL into 10 glass syringe
0241 | Catfish | 2E-3E | NA | 2022-09-07 | 912.1979 | 183.799 | 8.315 | 1.054 | 2022-10-13 | EDC_C_26 |  |  |  | 0.1 mL into 10 glass syringe
0242 | Catfish | 4C-4D | NA | 2022-09-07 | 1405.9548 | 275.645 | 7.9893 | 1.008 | 2022-10-13 | EDC_C_27 |  |  |  | 0.1 mL into 10 glass syringe
0243 | Catfish | 4E-5A | NA | 2022-09-07 | 2117.073 | 400.559 | 172.2186 | 19.761 | 2022-10-13 | EDC_C_28 |  |  |  | 0.1 mL into 10 glass syringe
0244 | Catfish | 5B-5C | NA | 2022-09-07 | 1684.9321 | 325.697 | 11.1664 | 1.425 | 2022-10-13 | EDC_C_29 |  |  |  | 0.1 mL into 10 glass syringe
0245 | Catfish | 5D-5E | NA | 2022-09-07 | 2516.4478 | 466.705 | 140.7462 | 16.447 | 2022-10-13 | EDC_C_30 |  |  |  | 0.1 mL into 10 glass syringe
0246 | Catfish | Fresh bubbles | 1 | 2022-09-07 | 1434.5152 | 281.48 | 79.7854 | 9.978 | 2022-10-13 | EDC_C_31 |  |  |  | 0.1 mL into 10 glass syringe
0247 | Catfish | Fresh bubbles | 2 | 2022-09-07 | 965.2501 | 193.802 | 36.1614 | 4.852 | 2022-10-13 | EDC_C_32 |  |  |  | 0.1 mL into 10 glass syringe
0248 | Catfish | Fresh bubbles | 3 | 2022-09-07 | 1744.6058 | 336.2 | 88.6818 | 10.94 | 2022-10-13 | EDC_C_33 |  |  |  | 0.1 mL into 10 glass syringe
calibration check | NA | NA | NA | NA | 46.5347 | 11.001 | 2272.3084 | 190.345 | 2022-10-13 | EDC_C_36 |  |  |  |  | 3.2897 | -5.5942
calibration check | NA | NA | NA | NA | 46.2574 | 10.929 | 2261.2334 | 189.131 | 2022-10-13 | EDC_C_37 |  |  |  |  | 2.6922 | -6.0824
0288 | Catfish | 1A-4B | NA | 2022-09-19 | 884.2829 | 178.361 | 7.8838 | 0.996 | 2022-10-13 | EDC_C_38 |  |  |  | 0.1 mL into 10 glass syringe
0289 | Catfish | 4C-5A | NA | 2022-09-19 | 1613.842 | 313.175 | 9.0154 | 1.131 | 2022-10-13 | EDC_C_39 |  |  |  | 0.1 mL into 10 glass syringe
0290 | Catfish | 5B-5D | NA | 2022-09-19 | 1747.6394 | 336.836 | 9.2571 | 1.183 | 2022-10-13 | EDC_C_40 |  |  |  | 0.1 mL into 10 glass syringe
0291 | Catfish | Fresh bubbles | 1 | 2022-09-19 | 1291.4734 | 254.908 | 43.9928 | 5.798 | 2022-10-13 | EDC_C_41 |  |  |  | 0.1 mL into 10 glass syringe
0292 | Catfish | Fresh bubbles | 2 | 2022-09-19 | 2505.9244 | 465.16 | 153.989 | 17.725 | 2022-10-13 | EDC_C_42 |  |  |  | 0.1 mL into 10 glass syringe
0293 | Catfish | Fresh bubbles | 3 | 2022-09-19 | 1534.313 | 298.907 | 47.924 | 6.269 | 2022-10-13 | EDC_C_43 |  |  |  | 0.1 mL into 10 glass syringe
0255 | Catfish | bottom | 1 | 2022-09-06 | 1.1172 | 0.251 | 615.6932 | 61.044 | 2022-10-13 | EDC_C_44 | Decided to rerun on high gain
calibration check
calibration check

## medium gain calc
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dilution sample vol (ml) | dilution status | CO2 curve | Measured CH4 conc ppm | Measured CO2 conc ppm | Sample Vol | Final Vol | Undiluted CH4 conc ppm | Undiluted CO2 conc ppm
0196 | Sister3 | 3E-4D | NA | 2022-08-23 | 1019.5473 | 204.083 | 4.0564 | 0.506 | 2022-10-13 | EDC_C_14 | NA | 0.1 mL into 10 glass syringe | 1 | low | 5002.5751 | -70.6031 | 0.1 | 10 | 500257.5104 | -7060.3064
0197 | Sister3 | 4E,5B | NA | 2022-08-23 | 1113.909 | 221.98 | 2.7138 | 0.33 | 2022-10-13 | EDC_C_15 | NA | 0.1 mL into 10 glass syringe | 1 | low | 5465.0086 | -77.3606 | 0.1 | 10 | 546500.858 | -7736.0576
0198 | Sister3 | 5C-5D | NA | 2022-08-24 | 1757.2498 | 338.695 | 16.5269 | 2.216 | 2022-10-13 | EDC_C_16 | NA | 0.1 mL into 10 glass syringe | 1 | low | 8617.7954 | -7.8371 | 0.1 | 10 | 861779.5383 | -783.7123
0199 | Sister3 | 5E | NA | 2022-08-25 | 1992.9755 | 379.798 | 14.199 | 1.878 | 2022-10-13 | EDC_C_17 | NA | 0.1 mL into 10 glass syringe | 1 | low | 9773.0041 | -19.5538 | 0.1 | 10 | 977300.4062 | -1955.3801
0200 | Sister3 | Fresh bubbles | 1 | 2022-08-23 | 2523.0837 | 467.863 | 33.5343 | 4.508 | 2022-10-13 | EDC_C_18 | NA | 0.1 mL into 10 glass syringe | 1 | low | 12370.8778 | 77.7637 | 0.1 | 10 | 1237087.775 | 7776.3732
0201 | Sister3 | Fresh bubbles | 2 | 2022-08-23 | 885.5455 | 178.519 | 11.7728 | 1.517 | 2022-10-13 | EDC_C_19 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4345.8795 | -31.7652 | 0.1 | 10 | 434587.9451 | -3176.5238
0202 | Sister3 | Fresh bubbles | 3 | 2022-08-23 | 2072.6996 | 393.167 | 90.33 | 11.22 | 2022-10-13 | EDC_C_20 | NA | 0.1 mL into 10 glass syringe | 1 | low | 10163.7038 | 363.6252 | 0.1 | 10 | 1016370.3813 | 36362.5208
0238 | Catfish | C5D | NA | 2022-09-06 | 2459.8592 | 457.969 | 278.1262 | 30.638 | 2022-10-13 | EDC_C_21 | NA | 0.1 mL into 10 glass syringe | 1 | low | 12061.0367 | 1308.8323 | 0.1 | 10 | 1206103.6731 | 130883.2309
0239 | Catfish | C5A | NA | 2022-09-07 | 1913.7469 | 365.757 | 82.9936 | 10.397 | 2022-10-13 | EDC_C_22 | NA | 0.1 mL into 10 glass syringe | 1 | low | 9384.7326 | 326.7 | 0.1 | 10 | 938473.2582 | 32669.9981
calibration check | NA | NA | NA | NA | 68.975 | 15.723 | 2269.1286 | 193.493 | 2022-10-13 | EDC_C_23 | NA | NA | 0 | low | 303.4849 | 9438.3421 | NA | NA | 303.4849 | 9438.3421
calibration check | NA | NA | NA | NA | 46.7321 | 11.03 | 2304.9092 | 196.327 | 2022-10-13 | EDC_C_24 | NA | NA | 0 | low | 207.3617 | 9588.3656 | NA | NA | 207.3617 | 9588.3656
0240 | Catfish | 2A-2D | NA | 2022-09-07 | 994.1363 | 199.375 | 6.9836 | 0.872 | 2022-10-13 | EDC_C_25 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4878.0447 | -55.87 | 0.1 | 10 | 487804.4738 | -5587.0017
0241 | Catfish | 2E-3E | NA | 2022-09-07 | 912.1979 | 183.799 | 8.315 | 1.054 | 2022-10-13 | EDC_C_26 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4476.4935 | -49.1689 | 0.1 | 10 | 447649.3482 | -4916.8877
0242 | Catfish | 4C-4D | NA | 2022-09-07 | 1405.9548 | 275.645 | 7.9893 | 1.008 | 2022-10-13 | EDC_C_27 | NA | 0.1 mL into 10 glass syringe | 1 | low | 6896.2222 | -50.8082 | 0.1 | 10 | 689622.2245 | -5080.8175
0243 | Catfish | 4E-5A | NA | 2022-09-07 | 2117.073 | 400.559 | 172.2186 | 19.761 | 2022-10-13 | EDC_C_28 | NA | 0.1 mL into 10 glass syringe | 1 | low | 10381.1622 | 775.7831 | 0.1 | 10 | 1038116.2227 | 77578.3102
0244 | Catfish | 5B-5C | NA | 2022-09-07 | 1684.9321 | 325.697 | 11.1664 | 1.425 | 2022-10-13 | EDC_C_29 | NA | 0.1 mL into 10 glass syringe | 1 | low | 8263.3918 | -34.8173 | 0.1 | 10 | 826339.1791 | -3481.7343
0245 | Catfish | 5D-5E | NA | 2022-09-07 | 2516.4478 | 466.705 | 140.7462 | 16.447 | 2022-10-13 | EDC_C_30 | NA | 0.1 mL into 10 glass syringe | 1 | low | 12338.3575 | 617.3777 | 0.1 | 10 | 1233835.754 | 61737.7681
0246 | Catfish | Fresh bubbles | 1 | 2022-09-07 | 1434.5152 | 281.48 | 79.7854 | 9.978 | 2022-10-13 | EDC_C_31 | NA | 0.1 mL into 10 glass syringe | 1 | low | 7036.1867 | 310.5526 | 0.1 | 10 | 703618.6712 | 31055.2617
0247 | Catfish | Fresh bubbles | 2 | 2022-09-07 | 965.2501 | 193.802 | 36.1614 | 4.852 | 2022-10-13 | EDC_C_32 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4736.4836 | 90.9863 | 0.1 | 10 | 473648.364 | 9098.6329
0248 | Catfish | Fresh bubbles | 3 | 2022-09-07 | 1744.6058 | 336.2 | 88.6818 | 10.94 | 2022-10-13 | EDC_C_33 | NA | 0.1 mL into 10 glass syringe | 1 | low | 8555.8316 | 355.3296 | 0.1 | 10 | 855583.1589 | 35532.9564
calibration check | NA | NA | NA | NA | 46.5347 | 11.001 | 2272.3084 | 190.345 | 2022-10-13 | EDC_C_36 | NA | NA | 0 | low | 206.5086 | 9451.6746 | NA | NA | 206.5086 | 9451.6746
calibration check | NA | NA | NA | NA | 46.2574 | 10.929 | 2261.2334 | 189.131 | 2022-10-13 | EDC_C_37 | NA | NA | 0 | low | 205.3103 | 9405.2386 | NA | NA | 205.3103 | 9405.2386
0288 | Catfish | 1A-4B | NA | 2022-09-19 | 884.2829 | 178.361 | 7.8838 | 0.996 | 2022-10-13 | EDC_C_38 | NA | 0.1 mL into 10 glass syringe | 1 | low | 4339.6919 | -51.3392 | 0.1 | 10 | 433969.1893 | -5133.9172
0289 | Catfish | 4C-5A | NA | 2022-09-19 | 1613.842 | 313.175 | 9.0154 | 1.131 | 2022-10-13 | EDC_C_39 | NA | 0.1 mL into 10 glass syringe | 1 | low | 7915.0042 | -45.6437 | 0.1 | 10 | 791500.4235 | -4564.3656
0290 | Catfish | 5B-5D | NA | 2022-09-19 | 1747.6394 | 336.836 | 9.2571 | 1.183 | 2022-10-13 | EDC_C_40 | NA | 0.1 mL into 10 glass syringe | 1 | low | 8570.6982 | -44.4271 | 0.1 | 10 | 857069.8195 | -4442.7143
0291 | Catfish | Fresh bubbles | 1 | 2022-09-19 | 1291.4734 | 254.908 | 43.9928 | 5.798 | 2022-10-13 | EDC_C_41 | NA | 0.1 mL into 10 glass syringe | 1 | low | 6335.1892 | 130.403 | 0.1 | 10 | 633518.9201 | 13040.2967
0292 | Catfish | Fresh bubbles | 2 | 2022-09-19 | 2505.9244 | 465.16 | 153.989 | 17.725 | 2022-10-13 | EDC_C_42 | NA | 0.1 mL into 10 glass syringe | 1 | low | 12286.7861 | 684.0307 | 0.1 | 10 | 1228678.6061 | 68403.0727
0293 | Catfish | Fresh bubbles | 3 | 2022-09-19 | 1534.313 | 298.907 | 47.924 | 6.269 | 2022-10-13 | EDC_C_43 | NA | 0.1 mL into 10 glass syringe | 1 | low | 7525.2606 | 150.1893 | 0.1 | 10 | 752526.06 | 15018.93
0255 | Catfish | bottom | 1 | 2022-09-06 | 1.1172 | 0.251 | 615.6932 | 61.044 | 2022-10-13 | EDC_C_44 | Decided to rerun on high gain | NA | 0 | low | 11.6077 | 3007.8588 | NA | NA | 11.6077 | 3007.8588

## run calibration check
ID | Vial | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | dev CH4 | dev Co2
1 | [7 empty] | #DIV/0! | #DIV/0! | std curve 30 ppm CH4 | 0
2 | [7 empty] | #DIV/0! | #DIV/0! | std curve 2000 ppm CO2 | 0
3 | [7 empty] | #DIV/0! | #DIV/0!
4 | [7 empty] | #DIV/0! | #DIV/0!
5 | [7 empty] | #DIV/0! | #DIV/0!
6 | [7 empty] | #DIV/0! | #DIV/0!
7 | [7 empty] | #DIV/0! | #DIV/0!
8 | [7 empty] | #DIV/0! | #DIV/0!
9 | [7 empty] | #DIV/0! | #DIV/0!
10 | [7 empty] | #DIV/0! | #DIV/0!
11 | [7 empty] | #DIV/0! | #DIV/0!

## dilution factor
Date | 2022-10-12
CH4 conc | 10000 ppm
CO2 conc | 20000 ppm
Vial # | CH4 Peak area | CH4 Peak hgt | CO2 Peak area | CO2 Peak hgt |  | Std area | Raw data area | Avg area | Dilution Factor
Dilution 1 | 1989.5816 | 384.814 | 3549.7964 | 274.693 | CH4 | 2312.2793 | 2312.0881 | 2312.1837 | 1.134
Dilution 2 | 2065.7646 | 397.852 | 3659.4972 | 230.178 | CO2 | 4349.91 | 4350.8949 | 4350.4024 | 1.2004
Dilution 3 | 2061.4882 | 396.334 | 3663.024 | 279.89
Avg area | 2038.9448 |  | 3624.1059

## std curve (2)
CH4 std | CO2 std | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File name
1 | 500 | 2.2324 | 0.447 | 2527.4654 | 300.249 | EDC_C_46 |  | CH4
1 | 500 | 2.1365 | 0.458 | 2521.225 | 299.885 | EDC_C_47 |  | Calibration check value | 982.261
5 | 1000 | 10.4475 | 2.218 | 5182.5802 | 564.102 | EDC_C_48 |  | Max area | 982.261
5 | 1000 | 10.5829 | 2.248 | 5135.2844 | 559.239 | EDC_C_49
30 | 2000 | 75.1746 | 17.039 | 10488.2866 | 1056.825 | EDC_C_50
30 | 2000 | 74.507 | 17.02 | 10450.6346 | 1052.19 | EDC_C_51
200 | 10000 | 990.9428 | 232.476 | 47541.0292 | 3916.266 | EDC_C_52
200 | 10000 | 986.8614 | 231.518 | 47334.1093 | 3900.522 | EDC_C_53
10000 | 20000 |  |  |  |  | EDC_C_54 | square peak
10000 | 20000 |  |  |  |  | EDC_C_55
CO2
[8 empty] | Calibration check value | 47517.28
[8 empty] | Max area | 47517.28
74.7099

## raw data (2)
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dev CH4 | dev CO2 | dilution sample vol (ml) | dilution status
0254 | Catfish | outlet | 3 | 2022-09-06 | 152.3986 | 36.225 | 9408.8092 | 959.999 | 2022-10-13 | EDC_C_55 | [5 empty] | std curve 200 ppm CH4 | 982.261
0255 | Catfish | bottom | 1 | 2022-09-06 | 14.4891 | 3.135 | 8178.8842 | 847.09 | 2022-10-13 | EDC_C_56 | [5 empty] | std curve 10000 ppm CO2 | 47517.28
0256 | Catfish | bottom | 2 | 2022-09-06 | 32.5105 | 7.177 | 10478.1672 | 1054.867 | 2022-10-13 | EDC_C_57
0257 | Catfish | bottom | 3 | 2022-09-06 | 43.1427 | 9.568 | 14414.4518 | 1398.306 | 2022-10-13 | EDC_C_58 | [5 empty] | CH4 max area | 47517.28
0258 | Catfish | top | 1 | 2022-09-06 | 36.006 | 7.948 | 9515.4748 | 966.08 | 2022-10-13 | EDC_C_59 | [5 empty] | CO2 max area | 47517.28
0259 | Catfish | top | 2 | 2022-09-06 | 36.6726 | 8.083 | 9084.2972 | 927.616 | 2022-10-13 | EDC_C_60
0260 | Catfish | top | 3 | 2022-09-06 | 35.9188 | 7.952 | 9795.9038 | 991.109 | 2022-10-13 | EDC_C_61 | unable to check graph curve
0287 | Picks | outlet | 3 | 2022-09-13 | 30.695 | 6.723 | 12305.9535 | 1212.823 | 2022-10-13 | EDC_C_62
0294 | Catfish | outlet | 1 | 2022-09-19 | 451.1946 | 110.855 | 9851.6088 | 994.902 | 2022-10-13 | EDC_C_63 | hard to pull?
0295 | Catfish | outlet | 2 | 2022-09-19 | 665.6629 | 160.441 | 9346.41 | 949.188 | 2022-10-13 | EDC_C_64 | hard to pull?
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 977.8272 | 230.142 | 45699.0024 | 3742.536 | 2022-10-13 | EDC_C_65 |  | -0.45241 | -3.9012
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 974.2106 | 229.332 | 45712.6796 | 3744.801 | 2022-10-13 | EDC_C_66 |  | -0.82295 | -3.8713
0296 | Catfish | outlet | 3 | 2022-09-19 | 682.8785 | 164.329 | 15789.2998 | 1508.86 | 2022-10-13 | EDC_C_67 | hard to pull?
0297 | Catfish | inlet | 1 | 2022-09-19 | 0 | 0 | 7.8076 | 0.88 | 2022-10-13 | EDC_C_68 | hard to pull?
0298 | Catfish | inlet | 2 | 2022-09-19 | 9.9726 | 2.174 | 7191.3045 | 750.426 | 2022-10-13 | EDC_C_69 | hard to pull?
0299 | Catfish | inlet | 3 | 2022-09-19 | 8.2522 | 1.798 | 3949.1692 | 440.209 | 2022-10-13 | EDC_C_70 | hard to pull?
0300 | Catfish | bottom | 1 | 2022-09-19 | 10.0977 | 2.2 | 4704.2484 | 513.547 | 2022-10-13 | EDC_C_71 | hard to pull?
0301 | Catfish | bottom | 2 | 2022-09-19 | 10.441 | 2.271 | 4452.8166 | 489.552 | 2022-10-13 | EDC_C_73 | hard to pull? Couldn't get more than 5mL
0302 | Catfish | bottom | 3 | 2022-09-19 | 13.4359 | 2.92 | 5474.0385 | 587.509 | 2022-10-13 | EDC_C_74 | hard to pull? Couldn't get more than 5mL
0303 | Catfish | top | 1 | 2022-09-19 | 13.4424 | 2.946 | 4959.3629 | 537.785 | 2022-10-13 | EDC_C_75 | hard to pull? Couldn't get more than 5mL
0304 | Catfish | top | 2 | 2022-09-19 | 11.3086 | 2.429 | 4003.676 | 444.841 | 2022-10-13 | EDC_C_76 | hard to pull? Couldn't get more than 5mL
0305 | Catfish | top | 3 | 2022-09-19 | 11.9964 | 2.637 | 4591.388 | 502.093 | 2022-10-13 | EDC_C_77 | hard to pull? Couldn't get more than 5mL
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 979.8332 | 230.188 | 45466.0728 | 3696.144 | 2022-10-13 | EDC_C_78 |  | -0.24747 | -4.412
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 974.7708 | 229.509 | 45342.685 | 3692.642 | 2022-10-13 | EDC_C_79 |  | -0.76547 | -4.6836
room air | NA | NA | NA | NA | 3.6302 | 0.813 | 2118.9328 | 254.28 | 2022-10-13 | EDC_C_80
Deer center bottom 1 | Deer | center bottom | 1 | 2021-09-14 | 161.1683 | 3.558 | 7478.1336 | 772.372 | 2022-10-13 | EDC_C_81
Air rep 6 | Air | NA | 6 | 2021-09-14 | 3.9498 | 0.852 | 3536.3503 | 397.603 | 2022-10-13 | EDC_C_82
Air rep 5 | Air | NA | 5 | 2021-09-14 | 3.9769 | 0.878 | 3241.1244 | 368.474 | 2022-10-13 | EDC_C_83
Air rep 4 | Air | NA | 4 | 2021-09-14 | 4.0186 | 0.886 | 4014.9934 | 444.766 | 2022-10-13 | EDC_C_84
Deer outlet rep 1 | Deer | outlet | 1 | 2021-09-14 | 1977.6608 | 437.546 | 41107.9494 | 3379.91 | 2022-10-13 | EDC_C_85 | too high
Deer inlet rep 1 | Deer | inlet | 1 | 2021-09-14 | 3596.8642 | 770.115 | 18216.3512 | 1688.883 | 2022-10-13 | EDC_C_86 | too high
Deer near outlet rep 1 | Deer | near outlet | 1 | 2021-09-14 | 25.8078 | 5.67 | 6436.3503 | 673.888 | 2022-10-13 | EDC_C_87
Deer near inlet rep 1 | Deer | near inlet | 1 | 2021-09-14 | 25.974 | 5.719 | 6299.0428 | 660.865 | 2022-10-13 | EDC_C_88
Deer center bottom rep 3 | Deer | center bottom | 3 | 2021-09-14 | 13.1898 | 2.904 | 6899.6652 | 716.871 | 2022-10-13 | EDC_C_89
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 984.229 | 231.754 | 45441.2074 | 3666.864 | 2022-10-13 | EDC_C_90 |  | 0.20015 | -4.4667
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 980.1926 | 231.081 | 45376.6897 | 3666.539 | 2022-10-13 | EDC_C_91 |  | -0.2108 | -4.6087
Air rep 1 | Air | NA | 1 | NA | 4.1077 | 0.9 | 3298.2081 | 373.198 | 2022-10-13 | EDC_C_92
0136 | Pick | inlet | 1 | 2022-07-13 | 36.9642 | 8.203 | 26102.7448 | 2295.726 | 2022-10-13 | EDC_C_93
0137 | Pick | inlet | 2 | 2022-07-13 | 33.769 | 7.511 | 32663.3701 | 2271.009 | 2022-10-13 | EDC_C_94
0138 | Pick | inlet | 3 | 2022-07-13 | 32.556 | 7.213 | 31025.1441 | 2651.134 | 2022-10-13 | EDC_C_95
0139 | Pick | outlet | 1 | 2022-07-13 | 174.9458 | 41.976 | 8466.287 | 856.469 | 2022-10-13 | EDC_C_96
0140 | Pick | outlet | 2 | 2022-07-13 | 250.2932 | 61.104 | 8487.2426 | 857.84 | 2022-10-13 | EDC_C_97
0141 | Pick | outlet | 3 | 2022-07-13 | 235.7448 | 57.31 | 9340.8674 | 934.106 | 2022-10-13 | EDC_C_98
0142 | Pick | top | 1 | 2022-07-13 | 77.259 | 17.666 | 21482.9416 | 1934.441 | 2022-10-13 | EDC_C_99
0143 | Pick | top | 2 | 2022-07-13 | 81.466 | 18.664 | 22640.4477 | 2020.729 | 2022-10-13 | EDC_C_100
0144 | Pick | top | 3 | 2022-07-13 | 103.1736 | 24.069 | 23540.9824 | 2088.825 | 2022-10-13 | EDC_C_101
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 985.9452 | 231.967 | 45265.6236 | 3623.394 | 2022-10-13 | EDC_C_102 |  | 0.37437 | -4.8536
0145 | Pick | bottom | 1 | 2022-07-13 | NA | NA | NA | NA | 2022-10-13 | EDC_C_103 | split peak
0173 | Catfish | inlet | 1 | 2022-07-28 | 166.074 | 39.7 | 10154.9482 | 1002.929 | 2022-10-13 | EDC_C_104
0174 | Catfish | inlet | 2 | 2022-07-28 | 94.2687 | 21.793 | 9783.925 | 969.619 | 2022-10-13 | EDC_C_105
0175 | Catfish | inlet | 3 | 2022-07-28 | 99.7767 | 23.063 | 10469.9358 | 1029.902 | 2022-10-13 | EDC_C_106

## high gain calc
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dilution sample vol (ml) | dilution status | CH4 curve | Measured CH4 conc ppm | Measured CO2 conc ppm
0254 | Catfish | outlet | 3 | 2022-09-06 | 152.3986 | 36.225 | 9408.8092 | 959.999 | 2022-10-13 | EDC_C_55 | NA | NA | 0 | high | 50.378 | 2265.3533
0255 | Catfish | bottom | 1 | 2022-09-06 | 14.4891 | 3.135 | 8178.8842 | 847.09 | 2022-10-13 | EDC_C_56 | NA | NA | 0 | high | 21.2918 | 1951.0428
0256 | Catfish | bottom | 2 | 2022-09-06 | 32.5105 | 7.177 | 10478.1672 | 1054.867 | 2022-10-13 | EDC_C_57 | NA | NA | 0 | high | 25.0927 | 2538.6305
0257 | Catfish | bottom | 3 | 2022-09-06 | 43.1427 | 9.568 | 14414.4518 | 1398.306 | 2022-10-13 | EDC_C_58 | NA | NA | 0 | high | 27.3351 | 3544.5581
0258 | Catfish | top | 1 | 2022-09-06 | 36.006 | 7.948 | 9515.4748 | 966.08 | 2022-10-13 | EDC_C_59 | NA | NA | 0 | high | 25.8299 | 2292.6119
0259 | Catfish | top | 2 | 2022-09-06 | 36.6726 | 8.083 | 9084.2972 | 927.616 | 2022-10-13 | EDC_C_60 | NA | NA | 0 | high | 25.9705 | 2182.4234
0260 | Catfish | top | 3 | 2022-09-06 | 35.9188 | 7.952 | 9795.9038 | 991.109 | 2022-10-13 | EDC_C_61 | unable to check graph curve | NA | 0 | high | 25.8115 | 2364.2763
0287 | Picks | outlet | 3 | 2022-09-13 | 30.695 | 6.723 | 12305.9535 | 1212.823 | 2022-10-13 | EDC_C_62 | NA | NA | 0 | high | 24.7098 | 3005.7259
0294 | Catfish | outlet | 1 | 2022-09-19 | 451.1946 | 110.855 | 9851.6088 | 994.902 | 2022-10-13 | EDC_C_63 | hard to pull? | NA | 0 | high | 113.3965 | 2378.5118
0295 | Catfish | outlet | 2 | 2022-09-19 | 665.6629 | 160.441 | 9346.41 | 949.188 | 2022-10-13 | EDC_C_64 | hard to pull? | NA | 0 | high | 158.6296 | 2249.407
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 977.8272 | 230.142 | 45699.0024 | 3742.536 | 2022-10-13 | EDC_C_65 | NA | NA | 0 | high | 224.4675 | 11539.4056
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 974.2106 | 229.332 | 45712.6796 | 3744.801 | 2022-10-13 | EDC_C_66 | NA | NA | 0 | high | 223.7047 | 11542.9008
0296 | Catfish | outlet | 3 | 2022-09-19 | 682.8785 | 164.329 | 15789.2998 | 1508.86 | 2022-10-13 | EDC_C_67 | hard to pull? | NA | 0 | high | 162.2605 | 3895.9041
0297 | Catfish | inlet | 1 | 2022-09-19 | 0 | 0 | 7.8076 | 0.88 | 2022-10-13 | EDC_C_68 | hard to pull? | NA | 0 | low | 0.52549 | -137.0969
0298 | Catfish | inlet | 2 | 2022-09-19 | 9.9726 | 2.174 | 7191.3045 | 750.426 | 2022-10-13 | EDC_C_69 | hard to pull? | NA | 0 | high | 20.3392 | 1698.6642
0299 | Catfish | inlet | 3 | 2022-09-19 | 8.2522 | 1.798 | 3949.1692 | 440.209 | 2022-10-13 | EDC_C_70 | hard to pull? | NA | 0 | high | 19.9764 | 870.1282
0300 | Catfish | bottom | 1 | 2022-09-19 | 10.0977 | 2.2 | 4704.2484 | 513.547 | 2022-10-13 | EDC_C_71 | hard to pull? | NA | 0 | high | 20.3656 | 1063.0906
0301 | Catfish | bottom | 2 | 2022-09-19 | 10.441 | 2.271 | 4452.8166 | 489.552 | 2022-10-13 | EDC_C_73 | hard to pull? Couldn't get more than 5mL | NA | 0 | high | 20.438 | 998.8366
0302 | Catfish | bottom | 3 | 2022-09-19 | 13.4359 | 2.92 | 5474.0385 | 587.509 | 2022-10-13 | EDC_C_74 | hard to pull? Couldn't get more than 5mL | NA | 0 | high | 21.0697 | 1259.8125
0303 | Catfish | top | 1 | 2022-09-19 | 13.4424 | 2.946 | 4959.3629 | 537.785 | 2022-10-13 | EDC_C_75 | hard to pull? Couldn't get more than 5mL | NA | 0 | high | 21.0711 | 1128.2858
0304 | Catfish | top | 2 | 2022-09-19 | 11.3086 | 2.429 | 4003.676 | 444.841 | 2022-10-13 | EDC_C_76 | hard to pull? Couldn't get more than 5mL | NA | 0 | high | 20.621 | 884.0576
0305 | Catfish | top | 3 | 2022-09-19 | 11.9964 | 2.637 | 4591.388 | 502.093 | 2022-10-13 | EDC_C_77 | hard to pull? Couldn't get more than 5mL | NA | 0 | high | 20.7661 | 1034.2489
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 979.8332 | 230.188 | 45466.0728 | 3696.144 | 2022-10-13 | EDC_C_78 | NA | NA | 0 | high | 224.8906 | 11479.8798
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 974.7708 | 229.509 | 45342.685 | 3692.642 | 2022-10-13 | EDC_C_79 | NA | NA | 0 | high | 223.8229 | 11448.3477
room air | NA | NA | NA | NA | 3.6302 | 0.813 | 2118.9328 | 254.28 | 2022-10-13 | EDC_C_80 | NA | NA | 0 | high | 19.0016 | 402.4066
Deer center bottom 1 | Deer | center bottom | 1 | 2021-09-14 | 161.1683 | 3.558 | 7478.1336 | 772.372 | 2022-10-13 | EDC_C_81 | NA | NA | 0 | high | 52.2276 | 1771.9641
Air rep 6 | Air | NA | 6 | 2021-09-14 | 3.9498 | 0.852 | 3536.3503 | 397.603 | 2022-10-13 | EDC_C_82 | NA | NA | 0 | high | 19.069 | 764.6313
Air rep 5 | Air | NA | 5 | 2021-09-14 | 3.9769 | 0.878 | 3241.1244 | 368.474 | 2022-10-13 | EDC_C_83 | NA | NA | 0 | high | 19.0747 | 689.1855
Air rep 4 | Air | NA | 4 | 2021-09-14 | 4.0186 | 0.886 | 4014.9934 | 444.766 | 2022-10-13 | EDC_C_84 | NA | NA | 0 | high | 19.0835 | 886.9497
Deer outlet rep 1 | Deer | outlet | 1 | 2021-09-14 | 1977.6608 | 437.546 | 41107.9494 | 3379.91 | 2022-10-13 | EDC_C_85 | too high | NA | 0 | high | 435.3404 | 10366.1502
Deer inlet rep 1 | Deer | inlet | 1 | 2021-09-14 | 3596.8642 | 770.115 | 18216.3512 | 1688.883 | 2022-10-13 | EDC_C_86 | too high | NA | 0 | high | 776.8433 | 4516.1433
Deer near outlet rep 1 | Deer | near outlet | 1 | 2021-09-14 | 25.8078 | 5.67 | 6436.3503 | 673.888 | 2022-10-13 | EDC_C_87 | NA | NA | 0 | high | 23.679 | 1505.7337
Deer near inlet rep 1 | Deer | near inlet | 1 | 2021-09-14 | 25.974 | 5.719 | 6299.0428 | 660.865 | 2022-10-13 | EDC_C_88 | NA | NA | 0 | high | 23.7141 | 1470.6445
Deer center bottom rep 3 | Deer | center bottom | 3 | 2021-09-14 | 13.1898 | 2.904 | 6899.6652 | 716.871 | 2022-10-13 | EDC_C_89 | NA | NA | 0 | high | 21.0178 | 1624.1351
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 984.229 | 231.754 | 45441.2074 | 3666.864 | 2022-10-13 | EDC_C_90 | NA | NA | 0 | high | 225.8177 | 11473.5254
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 980.1926 | 231.081 | 45376.6897 | 3666.539 | 2022-10-13 | EDC_C_91 | NA | NA | 0 | high | 224.9664 | 11457.0377
Air rep 1 | Air | NA | 1 | NA | 4.1077 | 0.9 | 3298.2081 | 373.198 | 2022-10-13 | EDC_C_92 | NA | NA | 0 | high | 19.1023 | 703.7734
0136 | Pick | inlet | 1 | 2022-07-13 | 36.9642 | 8.203 | 26102.7448 | 2295.726 | 2022-10-13 | EDC_C_93 | NA | NA | 0 | high | 26.032 | 6531.5315
0137 | Pick | inlet | 2 | 2022-07-13 | 33.769 | 7.511 | 32663.3701 | 2271.009 | 2022-10-13 | EDC_C_94 | NA | NA | 0 | high | 25.3581 | 8208.1162
0138 | Pick | inlet | 3 | 2022-07-13 | 32.556 | 7.213 | 31025.1441 | 2651.134 | 2022-10-13 | EDC_C_95 | NA | NA | 0 | high | 25.1023 | 7789.4633
0139 | Pick | outlet | 1 | 2022-07-13 | 174.9458 | 41.976 | 8466.287 | 856.469 | 2022-10-13 | EDC_C_96 | NA | NA | 0 | high | 55.1334 | 2024.4893
0140 | Pick | outlet | 2 | 2022-07-13 | 250.2932 | 61.104 | 8487.2426 | 857.84 | 2022-10-13 | EDC_C_97 | NA | NA | 0 | high | 71.0248 | 2029.8445
0141 | Pick | outlet | 3 | 2022-07-13 | 235.7448 | 57.31 | 9340.8674 | 934.106 | 2022-10-13 | EDC_C_98 | NA | NA | 0 | high | 67.9564 | 2247.9906
0142 | Pick | top | 1 | 2022-07-13 | 77.259 | 17.666 | 21482.9416 | 1934.441 | 2022-10-13 | EDC_C_99 | NA | NA | 0 | high | 34.5305 | 5350.9289
0143 | Pick | top | 2 | 2022-07-13 | 81.466 | 18.664 | 22640.4477 | 2020.729 | 2022-10-13 | EDC_C_100 | NA | NA | 0 | high | 35.4178 | 5646.7326
0144 | Pick | top | 3 | 2022-07-13 | 103.1736 | 24.069 | 23540.9824 | 2088.825 | 2022-10-13 | EDC_C_101 | NA | NA | 0 | high | 39.9961 | 5876.8665
calibration check 200ppm CH4 10000 CO2 | NA | NA | NA | NA | 985.9452 | 231.967 | 45265.6236 | 3623.394 | 2022-10-13 | EDC_C_102 | NA | NA | 0 | high | 226.1796 | 11428.6545
0145 | Pick | bottom | 1 | 2022-07-13 | NA | NA | NA | NA | 2022-10-13 | EDC_C_103 | split peak | NA | 0 | high | #VALUE! | #VALUE!
0173 | Catfish | inlet | 1 | 2022-07-28 | 166.074 | 39.7 | 10154.9482 | 1002.929 | 2022-10-13 | EDC_C_104 | NA | NA | 0 | high | 53.2623 | 2456.031
0174 | Catfish | inlet | 2 | 2022-07-28 | 94.2687 | 21.793 | 9783.925 | 969.619 | 2022-10-13 | EDC_C_105 | NA | NA | 0 | high | 38.118 | 2361.2151
0175 | Catfish | inlet | 3 | 2022-07-28 | 99.7767 | 23.063 | 10469.9358 | 1029.902 | 2022-10-13 | EDC_C_106 | NA | NA | 0 | high | 39.2796 | 2536.5269