## stability check
CH4 std | CO2 std | Time | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File Name | CH4 % Diff | CO2 % Diff
200 | 10000 | 8:30 | 47.3772 | 10.933 | 2110.4026 | 188.208 | EDC_D_1 | NA | NA
200 | 10000 | 8:36 | 47.2044 | 10.9 | 2141.7507 | 192.633 | EDC_D_02 | -0.3654 | 1.4745
200 | 10000 | 8:41 | 47.1326 | 10.906 | 2160.2164 | 194.456 | EDC_D_03 | -0.15222 | 0.85848
[8 empty] | -100 | 0
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!

## std curve
CH4 std | CO2 std | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File name
1 | 500 | 0 | 0 | 125.309 | 15.14 | EDC_D_04 | CH4
1 | 500 | 0 | 0 | 124.6832 | 15.087 | EDC_D_05 | Calibration check value | 45.2245
5 | 1000 | 0 | 0 | 255.792 |  | EDC_D_06 | Max area | 2293.3445
5 | 1000 | 0 | 0 | 253.8266 | 28.662 | EDC_D_07
30 | 2000 | 3.8238 | 0.883 | 511.6775 | 54.349 | EDC_D_08
30 | 2000 | 3.8312 | 0.882 | 506.0092 | 53.698 | EDC_D_09
200 | 10000 | 47.9012 | 11.18 | 2353.8994 | 208.392 | EDC_D_10
200 | 10000 | 47.5486 | 11.136 | 2338.8882 | 206.807 | EDC_D_11
10000 | 20000 | 2298.7526 | 437.992 | 3954.8175 | 313.785 | EDC_D_12
10000 | 20000 | 2287.2815 | 436.69 | 3911.7064 | 309.825 | EDC_D_13
CO2
[7 empty] | Calibration check value | 2349.885
[7 empty] | Max area | 3933.53

## raw data
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dev CH4 | dev CO2 | dilution sample vol (ml) | dilution status
0145 | Pick | bottom | 1 | 2022-07-13 | 476.2875 | 98.492 | 327.6668 | 26.022 | 2022-10-14 | EDC_D_14 | had already been run with 10 mL taken out |  |  | 1 mL in 10 mL glass syringe |  | std curve 200 ppm CH4 | 45.2245
0146 | Pick | bottom | 2 | 2022-07-13 | 702.3152 | 143.348 | 549.377 | 57.312 | 2022-10-14 | EDC_D_15 |  |  |  | 1 mL in 10 mL glass syringe |  | std curve 10000 ppm CO2 | 2349.885
0147 | Pick | bottom | 3 | 2022-07-13 | 352.6691 | 73.554 | 308.0525 | 33.722 | 2022-10-14 | EDC_D_16 |  |  |  | 1 mL in 10 mL glass syringe
0148 | Catfish | C5A | 4 | 2022-07-27 | 1035.9032 | 207.186 | 89.1804 | 11.08 | 2022-10-14 | EDC_D_17 |  |  |  | 0.1mL in 10mL glass syringe |  | CH4 max area | 2293.3445
0149 | Catfish | C1A-C1C | NA | 2022-07-28 | 1035.3426 | 207.367 | 3.3654 | 0.401 | 2022-10-14 | EDC_D_18 |  |  |  | 0.1mL in 10mL glass syringe |  | CO2 max area | 3933.53
0150 | Catfish | C2B-C2E | NA | 2022-07-28 | 502.6954 | 103.778 | 1.716 | 0.199 | 2022-10-14 | EDC_D_19 |  |  |  | 0.1mL in 10mL glass syringe
0151 | Catfish | C3A-C3B | NA | 2022-07-28 | 1250.8312 | 247.604 | 7.6545 | 0.963 | 2022-10-14 | EDC_D_20 |  |  |  | 0.1mL in 10mL glass syringe
0152 | Catfish | C3C-C3D | NA | 2022-07-28 | 914.8216 | 184.455 | 3.9894 | 0.498 | 2022-10-14 | EDC_D_21 |  |  |  | 0.1mL in 10mL glass syringe
0153 | Catfish | C4B-C4D | NA | 2022-07-28 | 704.5518 | 143.604 | 1.8378 | 0.222 | 2022-10-14 | EDC_D_22 |  |  |  | 0.1mL in 10mL glass syringe
calibration check | NA | NA | NA | NA | 47.4875 | 11.166 | 2214.0268 | 188.059 | 2022-10-14 | EDC_D_23 |  | 4.8818 | -5.9536
calibration check | NA | NA | NA | NA | 47.6429 | 11.17 | 2214.2303 | 188.048 | 2022-10-14 | EDC_D_24 |  | 5.2083 | -5.9444
0154 | Catfish | C4E | NA | 2022-07-28 | 2453.5424 | 456.784 | 28.5285 | 3.819 | 2022-10-14 | EDC_D_25 |  |  |  | 0.1mL in 10mL glass syringe
0155 | Catfish | C5A-C5B | NA | 2022-07-28 | 2035.812 | 386.699 | 19.2414 | 2.55 | 2022-10-14 | EDC_D_26 |  |  |  | 0.1mL in 10mL glass syringe
0156 | Catfish | C5C | NA | 2022-07-28 | 2474.5052 | 459.865 | 46.7416 | 6.127 | 2022-10-14 | EDC_D_27 |  |  |  | 0.1mL in 10mL glass syringe
0157 | Catfish | C5D | NA | 2022-07-28 | 991.1118 | 198.873 | 12.779 | 1.667 | 2022-10-14 | EDC_D_28 |  |  |  | 0.1mL in 10mL glass syringe
158 | Catfish | Fresh bubbles | 1 | 2022-07-28 | 1794.4926 | 345.412 | 47.0848 | 6.189 | 2022-10-14 | EDC_D_29 |  |  |  | 0.1mL in 10mL glass syringe
159 | Catfish | Fresh bubbles | 2 | 2022-07-28 | 1703.4448 | 329.171 | 48.0648 | 6.305 | 2022-10-14 | EDC_D_30 |  |  |  | 0.1mL in 10mL glass syringe
160 | Catfish | Fresh bubbles | 3 | 2022-07-28 | 1610.098 | 312.594 | 25.227 | 3.346 | 2022-10-14 | EDC_D_31 |  |  |  | 0.1mL in 10mL glass syringe
0120 | Pick | P5C | NA | 2022-07-12 | 741.8697 | 150.938 | 14.556 | 1.889 | 2022-10-14 | EDC_D_32 |  |  |  | 0.1mL in 10mL glass syringe
0121 | Pick | P5A | NA | 2022-07-12 | 1844.3716 | 353.933 | 4.5674 | 0.55 | 2022-10-14 | EDC_D_33 |  |  |  | 0.1mL in 10mL glass syringe
0122 | Pick | P1D | NA | 2022-07-12 | 2424.2204 | 451.887 | 2.4228 | 0.284 | 2022-10-14 | EDC_D_34 |  |  |  | 0.1mL in 10mL glass syringe
calibration check | NA | NA | NA | NA | 47.4568 | 11.195 | 2165.4133 | 180.44 | 2022-10-14 | EDC_D_35 |  | 4.8172 | -8.171
calibration check | NA | NA | NA | NA | 47.3559 | 11.156 | 2167.4798 | 180.668 | 2022-10-14 | EDC_D_36 |  | 4.6044 | -8.0757
0123 | Pick | P1A | NA | 2022-07-13 | 1058.9014 | 211.703 | 122.1484 | 14.434 | 2022-10-14 | EDC_D_37 |  |  |  | 0.1mL in 10mL glass syringe
0124 | Pick | P2A | NA | 2022-07-13 | 1290.2022 | 254.952 | 43.0744 | 5.669 | 2022-10-14 | EDC_D_38 |  |  |  | 0.1mL in 10mL glass syringe
0125 | Pick | P5C | NA | 2022-07-13 | 145.4133 | 31.218 | 6.5604 | 0.816 | 2022-10-14 | EDC_D_39 |  |  |  | 0.1mL in 10mL glass syringe
0126 | Pick | P1B-P1D | NA | 2022-07-13 | 1366.8145 | 268.576 | 75.6842 | 9.456 | 2022-10-14 | EDC_D_40 |  |  |  | 0.1mL in 10mL glass syringe
0127 | Pick | P2B-P2D | NA | 2022-07-13 | 1694.6689 | 327.562 | 68.5393 | 8.689 | 2022-10-14 | EDC_D_41 |  |  |  | 0.1mL in 10mL glass syringe
0128 | Pick | P3A-P3B | NA | 2022-07-13 | 1805.2576 | 346.783 | 89.4578 | 10.969 | 2022-10-14 | EDC_D_42 |  |  |  | 0.1mL in 10mL glass syringe
0129 | Pick | P3C-P3D | NA | 2022-07-13 | 2094.7024 | 396.692 | 79.062 | 9.833 | 2022-10-14 | EDC_D_43 |  |  |  | 0.1mL in 10mL glass syringe
0130 | Pick | P4A-P4B | NA | 2022-07-13 | 1554.7019 | 302.87 | 123.9212 | 14.612 | 2022-10-14 | EDC_D_44 |  |  |  | 0.1mL in 10mL glass syringe
0131 | Pick | P4C | NA | 2022-07-13 | 1811.5408 | 348.105 | 138.3506 | 16.048 | 2022-10-14 | EDC_D_45 |  |  |  | 0.1mL in 10mL glass syringe
0132 | Pick | P4D-P5A | NA | 2022-07-13 | 1944.7168 | 371.45 | 121.8112 | 14.355 | 2022-10-14 | EDC_D_46 |  |  |  | 0.1mL in 10mL glass syringe
calibration check | NA | NA | NA | NA | 47.1526 | 11.142 | 2143.8973 | 176.485 | 2022-10-14 | EDC_D_47 |  | 4.1744 | -9.1677
calibration check | NA | NA | NA | NA | 47.1797 | 11.135 | 2133.3965 | 175.617 | 2022-10-14 | EDC_D_48 |  | 4.2318 | -9.6576
0134 | ? | ? | ? | ? | 1832.2094 | 351.705 | 142.7422 | 16.445 | 2022-10-14 | EDC_D_49 |  |  |  | 0.1mL in 10mL glass syringe
0133 | Pick | P5D-P5E | NA | 2022-07-13 | 2285.5158 | 428.575 | 107.645 | 12.825 | 2022-10-14 | EDC_D_50 |  |  |  | 0.1mL in 10mL glass syringe
NA | NA | NA | NA | NA | 8.7383 | 2.089 | 2.3462 | 0.278 | 2022-10-14 | EDC_D_51 | Accidentally ran two at once, do not include
NA | NA | NA | NA | NA | 2216.1126 | 417.312 | 46.5526 | 6.083 | 2022-10-14 | EDC_D_52 | Blank run
0114 | Pick | P5B | NA | 2022-07-06 | 1.1524 | 0.249 | 1.6958 | 0.202 | 2022-10-14 | EDC_D_53 |  |  |  | 0.1mL in 10mL glass syringe
0114 | Pick | P5B | NA | 2022-07-06 | 118.9946 | 25.911 | 185.1597 | 20.717 | 2022-10-14 | EDC_D_54
0115 | Pick | P4E | NA | 2022-07-06 | 2198.0658 | 413.959 | 45.6908 | 5.99 | 2022-10-14 | EDC_D_55 |  |  |  | 0.1mL in 10mL glass syringe
0116 | Pick | P4B | NA | 2022-07-06 | 1478.5723 | 289.08 | 19.1604 | 2.5 | 2022-10-14 | EDC_D_56
0117 | Pick | P4E | NA | 2022-07-06 | 526.2018 | 108.563 | 42.323 | 5.551 | 2022-10-14 | EDC_D_57
0118 | Pick | P5D | NA | 2022-07-06 | 2288.3821 | 429.218 | 133.934 | 15.505 | 2022-10-14 | EDC_D_58
0119 | Pick | P2B | NA | 2022-07-06 | 1757.7133 | 338.856 | 18.4192 | 2.402 | 2022-10-14 | EDC_D_59
0135 | ? | ? | ? | ? | 2.7834 | 0.625 | 1.3646 | 0.157 | 2022-10-14 | EDC_D_60 | Possible evacuated vial
calibration check | NA | NA | NA | NA | 45.3864 | 10.778 | 2033.0087 | 165.998 | 2022-10-14 | EDC_D_61 |  | 0.35735 | -14.4597
calibration check | NA | NA | NA | NA | 45.4104 | 10.79 | 2040.8906 | 166.53 | 2022-10-14 | EDC_D_62 |  | 0.41022 | -14.0747

## Sheet1
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dilution sample vol (ml) | dilution status | CO2 Curve | Measured CH4 conc ppm | Measured CO2 conc ppm | Sample Vol | Final Vol | Undiluted CH4 conc ppm | Undiluted CO2 conc ppm
0145 | Pick | bottom | 1 | 2022-07-13 | 476.2875 | 98.492 | 327.6668 | 26.022 | 2022-10-14 | EDC_D_14 | had already been run with 10 mL taken out | 1 mL in 10 mL glass syringe |  | low
0146 | Pick | bottom | 2 | 2022-07-13 | 702.3152 | 143.348 | 549.377 | 57.312 | 2022-10-14 | EDC_D_15 | NA | 1 mL in 10 mL glass syringe |  | low
0147 | Pick | bottom | 3 | 2022-07-13 | 352.6691 | 73.554 | 308.0525 | 33.722 | 2022-10-14 | EDC_D_16 | NA | 1 mL in 10 mL glass syringe |  | low
0148 | Catfish | C5A | 4 | 2022-07-27 | 1035.9032 | 207.186 | 89.1804 | 11.08 | 2022-10-14 | EDC_D_17 | NA | 0.1mL in 10mL glass syringe |  | low
0149 | Catfish | C1A-C1C | NA | 2022-07-28 | 1035.3426 | 207.367 | 3.3654 | 0.401 | 2022-10-14 | EDC_D_18 | NA | 0.1mL in 10mL glass syringe |  | low
0150 | Catfish | C2B-C2E | NA | 2022-07-28 | 502.6954 | 103.778 | 1.716 | 0.199 | 2022-10-14 | EDC_D_19 | NA | 0.1mL in 10mL glass syringe |  | low
0151 | Catfish | C3A-C3B | NA | 2022-07-28 | 1250.8312 | 247.604 | 7.6545 | 0.963 | 2022-10-14 | EDC_D_20 | NA | 0.1mL in 10mL glass syringe |  | low
0152 | Catfish | C3C-C3D | NA | 2022-07-28 | 914.8216 | 184.455 | 3.9894 | 0.498 | 2022-10-14 | EDC_D_21 | NA | 0.1mL in 10mL glass syringe |  | low
0153 | Catfish | C4B-C4D | NA | 2022-07-28 | 704.5518 | 143.604 | 1.8378 | 0.222 | 2022-10-14 | EDC_D_22 | NA | 0.1mL in 10mL glass syringe |  | low
calibration check | NA | NA | NA | NA | 47.4875 | 11.166 | 2214.0268 | 188.059 | 2022-10-14 | EDC_D_23 | NA | NA |  | low
calibration check | NA | NA | NA | NA | 47.6429 | 11.17 | 2214.2303 | 188.048 | 2022-10-14 | EDC_D_24 | NA | NA |  | low
0154 | Catfish | C4E | NA | 2022-07-28 | 2453.5424 | 456.784 | 28.5285 | 3.819 | 2022-10-14 | EDC_D_25 | NA | 0.1mL in 10mL glass syringe |  | low
0155 | Catfish | C5A-C5B | NA | 2022-07-28 | 2035.812 | 386.699 | 19.2414 | 2.55 | 2022-10-14 | EDC_D_26 | NA | 0.1mL in 10mL glass syringe |  | low
0156 | Catfish | C5C | NA | 2022-07-28 | 2474.5052 | 459.865 | 46.7416 | 6.127 | 2022-10-14 | EDC_D_27 | NA | 0.1mL in 10mL glass syringe |  | low
0157 | Catfish | C5D | NA | 2022-07-28 | 991.1118 | 198.873 | 12.779 | 1.667 | 2022-10-14 | EDC_D_28 | NA | 0.1mL in 10mL glass syringe |  | low
158 | Catfish | Fresh bubbles | 1 | 2022-07-28 | 1794.4926 | 345.412 | 47.0848 | 6.189 | 2022-10-14 | EDC_D_29 | NA | 0.1mL in 10mL glass syringe |  | low
159 | Catfish | Fresh bubbles | 2 | 2022-07-28 | 1703.4448 | 329.171 | 48.0648 | 6.305 | 2022-10-14 | EDC_D_30 | NA | 0.1mL in 10mL glass syringe |  | low
160 | Catfish | Fresh bubbles | 3 | 2022-07-28 | 1610.098 | 312.594 | 25.227 | 3.346 | 2022-10-14 | EDC_D_31 | NA | 0.1mL in 10mL glass syringe |  | low
0120 | Pick | P5C | NA | 2022-07-12 | 741.8697 | 150.938 | 14.556 | 1.889 | 2022-10-14 | EDC_D_32 | NA | 0.1mL in 10mL glass syringe |  | low
0121 | Pick | P5A | NA | 2022-07-12 | 1844.3716 | 353.933 | 4.5674 | 0.55 | 2022-10-14 | EDC_D_33 | NA | 0.1mL in 10mL glass syringe |  | low
0122 | Pick | P1D | NA | 2022-07-12 | 2424.2204 | 451.887 | 2.4228 | 0.284 | 2022-10-14 | EDC_D_34 | NA | 0.1mL in 10mL glass syringe |  | low
calibration check | NA | NA | NA | NA | 47.4568 | 11.195 | 2165.4133 | 180.44 | 2022-10-14 | EDC_D_35 | NA | NA |  | low
calibration check | NA | NA | NA | NA | 47.3559 | 11.156 | 2167.4798 | 180.668 | 2022-10-14 | EDC_D_36 | NA | NA |  | low
0123 | Pick | P1A | NA | 2022-07-13 | 1058.9014 | 211.703 | 122.1484 | 14.434 | 2022-10-14 | EDC_D_37 | NA | 0.1mL in 10mL glass syringe |  | low
0124 | Pick | P2A | NA | 2022-07-13 | 1290.2022 | 254.952 | 43.0744 | 5.669 | 2022-10-14 | EDC_D_38 | NA | 0.1mL in 10mL glass syringe |  | low
0125 | Pick | P5C | NA | 2022-07-13 | 145.4133 | 31.218 | 6.5604 | 0.816 | 2022-10-14 | EDC_D_39 | NA | 0.1mL in 10mL glass syringe |  | low
0126 | Pick | P1B-P1D | NA | 2022-07-13 | 1366.8145 | 268.576 | 75.6842 | 9.456 | 2022-10-14 | EDC_D_40 | NA | 0.1mL in 10mL glass syringe |  | low
0127 | Pick | P2B-P2D | NA | 2022-07-13 | 1694.6689 | 327.562 | 68.5393 | 8.689 | 2022-10-14 | EDC_D_41 | NA | 0.1mL in 10mL glass syringe |  | low
0128 | Pick | P3A-P3B | NA | 2022-07-13 | 1805.2576 | 346.783 | 89.4578 | 10.969 | 2022-10-14 | EDC_D_42 | NA | 0.1mL in 10mL glass syringe |  | low
0129 | Pick | P3C-P3D | NA | 2022-07-13 | 2094.7024 | 396.692 | 79.062 | 9.833 | 2022-10-14 | EDC_D_43 | NA | 0.1mL in 10mL glass syringe |  | low
0130 | Pick | P4A-P4B | NA | 2022-07-13 | 1554.7019 | 302.87 | 123.9212 | 14.612 | 2022-10-14 | EDC_D_44 | NA | 0.1mL in 10mL glass syringe |  | low
0131 | Pick | P4C | NA | 2022-07-13 | 1811.5408 | 348.105 | 138.3506 | 16.048 | 2022-10-14 | EDC_D_45 | NA | 0.1mL in 10mL glass syringe |  | low
0132 | Pick | P4D-P5A | NA | 2022-07-13 | 1944.7168 | 371.45 | 121.8112 | 14.355 | 2022-10-14 | EDC_D_46 | NA | 0.1mL in 10mL glass syringe |  | low
calibration check | NA | NA | NA | NA | 47.1526 | 11.142 | 2143.8973 | 176.485 | 2022-10-14 | EDC_D_47 | NA | NA |  | low
calibration check | NA | NA | NA | NA | 47.1797 | 11.135 | 2133.3965 | 175.617 | 2022-10-14 | EDC_D_48 | NA | NA |  | low
0134 | ? | ? | ? | ? | 1832.2094 | 351.705 | 142.7422 | 16.445 | 2022-10-14 | EDC_D_49 | NA | 0.1mL in 10mL glass syringe |  | low
0133 | Pick | P5D-P5E | NA | 2022-07-13 | 2285.5158 | 428.575 | 107.645 | 12.825 | 2022-10-14 | EDC_D_50 | NA | 0.1mL in 10mL glass syringe |  | low
NA | NA | NA | NA | NA | 8.7383 | 2.089 | 2.3462 | 0.278 | 2022-10-14 | EDC_D_51 | Accidentally ran two at once, do not include | NA |  | low
NA | NA | NA | NA | NA | 2216.1126 | 417.312 | 46.5526 | 6.083 | 2022-10-14 | EDC_D_52 | Blank run | NA |  | low
0114 | Pick | P5B | NA | 2022-07-06 | 1.1524 | 0.249 | 1.6958 | 0.202 | 2022-10-14 | EDC_D_53 | NA | 0.1mL in 10mL glass syringe |  | low
0114 | Pick | P5B | NA | 2022-07-06 | 118.9946 | 25.911 | 185.1597 | 20.717 | 2022-10-14 | EDC_D_54 | NA | NA |  | low
0115 | Pick | P4E | NA | 2022-07-06 | 2198.0658 | 413.959 | 45.6908 | 5.99 | 2022-10-14 | EDC_D_55 | NA | 0.1mL in 10mL glass syringe |  | low
0116 | Pick | P4B | NA | 2022-07-06 | 1478.5723 | 289.08 | 19.1604 | 2.5 | 2022-10-14 | EDC_D_56 | NA | NA |  | low
0117 | Pick | P4E | NA | 2022-07-06 | 526.2018 | 108.563 | 42.323 | 5.551 | 2022-10-14 | EDC_D_57 | NA | NA |  | low
0118 | Pick | P5D | NA | 2022-07-06 | 2288.3821 | 429.218 | 133.934 | 15.505 | 2022-10-14 | EDC_D_58 | NA | NA |  | low
0119 | Pick | P2B | NA | 2022-07-06 | 1757.7133 | 338.856 | 18.4192 | 2.402 | 2022-10-14 | EDC_D_59 | NA | NA |  | low
0135 | ? | ? | ? | ? | 2.7834 | 0.625 | 1.3646 | 0.157 | 2022-10-14 | EDC_D_60 | Possible evacuated vial | NA |  | low
calibration check | NA | NA | NA | NA | 45.3864 | 10.778 | 2033.0087 | 165.998 | 2022-10-14 | EDC_D_61 | NA | NA |  | low
calibration check | NA | NA | NA | NA | 45.4104 | 10.79 | 2040.8906 | 166.53 | 2022-10-14 | EDC_D_62 | NA | NA |  | low

## std curve (2)
CH4 std | CO2 std | CH4 area | CH4 hgt | CO2 area | CO2 hgt | File name
1 | 500 | 2.3569 | 0.464 | 2763.1826 | 375.253 | EDC_D_64 |  | CH4
1 | 500 | 2.377 | 0.472 | 2749.681 | 373.875 | EDC_D_65 |  | Calibration check value | 75.664
5 | 1000 | 10.8572 | 2.26 | 5723.3079 | 742.228 | EDC_D_66 |  | Max area | 991.693
5 | 1000 | 10.6117 | 2.235 | 5708.1294 | 740.198 | EDC_D_67
30 | 2000 | 76.0478 | 17.193 | 11300.0928 | 1422.959 | EDC_D_68
30 | 2000 | 75.5565 | 17.084 | 11258.8267 | 1417.788 | EDC_D_69
200 | 10000 | 992.3208 | 232.7 | 26633.8491 | 4929.752 | EDC_D_70 | double peak
200 | 10000 | 991.079 | 232.214 | 25988.1749 | 4935.297 | EDC_D_71 | double peak
CO2
[8 empty] | Calibration check value | 11304.761
[8 empty] | Max area | 3933.53

## raw data (2)
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dev CH4 | dev CO2 | dilution sample vol (ml) | dilution status
0161 | Catfish | zero air | NA | 2022-07-28 | 1.3236 | 0.279 | 1106.8502 | 163.631 | 2022-10-14 | EDC_D_72
0162 | Catfish | zero air | NA | 2022-07-28 | 1.7314 | 0.38 | 847.3306 | 127.218 | 2022-10-14 | EDC_D_73 | [5 empty] | std curve 30 ppm CH4 | 75.664
0163 | Catfish | zero air | NA | 2022-07-28 | 1.9087 | 0.396 | 1366.3559 | 198.146 | 2022-10-14 | EDC_D_74 | [5 empty] | std curve 2000 ppm CO2 | 11304.761
0164 | Catfish | top | 1 | 2022-07-28 | 48.2215 | 10.765 | 3957.801 | 525.477 | 2022-10-14 | EDC_D_76
0165 | Catfish | top | 2 | 2022-07-28 | 68.758 | 15.601 | 4410.3366 | 580.991 | 2022-10-14 | EDC_D_77 | [5 empty] | CH4 max area | 991.693
0166 | Catfish | top | 3 | 2022-07-28 | 20.7108 | 4.491 | 4756.313 | 625.84 | 2022-10-14 | EDC_D_78 | Hard to pull |  |  |  |  | CO2 max area | 3933.53
0167 | Catfish | bottom | 1 | 2022-07-28 | NA | NA | 22836.0268 | 2766.542H8:I8 | 2022-10-14 | EDC_D_79 | Hard to pull; double peak
0167 | Catfish | bottom | 1 | 2022-07-28 | 1.7659 | 0.394 | 160.574 | 22.591 | 2022-10-14 | EDC_D_80 | Possibly could not retrieve enough gas |  |  | 1 mL in 10mL glass syringe
0168 | Catfish | bottom | 2 | 2022-07-28 | 2649.6031 | 572.817 | 1569.6392 | 225.467 | 2022-10-14 | EDC_D_81 |  |  |  | 1 mL in 10mL glass syringe
0168 | Catfish | bottom | 2 | 2022-07-28 | 364.2194 | 89.914 | 172.2713 | 24.519 | 2022-10-14 | EDC_D_82 |  |  |  | 0.1mL in 10mL glass syringe
0169 | Catfish | bottom | 3 | 2022-07-28 | 957.0707 | 223.947 | 409.2728 | 61.482 | 2022-10-14 | EDC_D_83 |  |  |  | 0.1mL in 10mL glass syringe
0170 | Catfish | outlet | 1 | 2022-07-28 | 6.2699 | 1.314 | 8893.9685 | 1128.207 | 2022-10-14 | EDC_D_84
calibration check 30 ppm CH4, 2000 ppm CO2 | NA | NA | NA | NA | 29.3506 | 7.072 | 4752.0642 | 645.05 | 2022-10-14 | EDC_D_85 | Didn't properly flush the sample loop
calibration check 30 ppm CH4, 2000 ppm CO2 | NA | NA | NA | NA | 77.4997 | 17.807 | 11654.0728 | 1459.226 | 2022-10-14 | EDC_D_86 |  | 2.397 | 3.0429
calibration check 30 ppm CH4, 2000 ppm CO2 | NA | NA | NA | NA | 77.902 | 17.81 | 11579.0475 | 1451.803 | 2022-10-14 | EDC_D_87 |  | 2.9147 | 2.3972
0171 | Catfish | outlet | 2 | 2022-07-28 | 4.5554 | 0.939 | 8471.8491 | 1077.344 | 2022-10-14 | EDC_D_88
0172 | Catfish | outlet | 3 | 2022-07-28 | 4.2328 | 0.878 | 7819.6836 | 997.78 | 2022-10-14 | EDC_D_89

## Sheet2
Vial | Site | Location | Rep | Collection Date | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | Notes | dilution sample vol (ml) | dilution status | CH4 Curve | Measured CH4 conc ppm | Measured CO2 conc ppm | Sample Vol | Final Vol | Undiluted CH4 conc ppm | Undiluted CO2 conc ppm
0161 | Catfish | zero air | NA | 2022-07-28 | 1.3236 | 0.279 | 1106.8502 | 163.631 | 2022-10-14 | EDC_D_72 | NA | NA | 0 | low | 1.0535 | 239.9266 | NA | NA | 1.0535 | 239.9266
0162 | Catfish | zero air | NA | 2022-07-28 | 1.7314 | 0.38 | 847.3306 | 127.218 | 2022-10-14 | EDC_D_73 | NA | NA | 0 | low | 1.2343 | 184.9356 | NA | NA | 1.2343 | 184.9356
0163 | Catfish | zero air | NA | 2022-07-28 | 1.9087 | 0.396 | 1366.3559 | 198.146 | 2022-10-14 | EDC_D_74 | NA | NA | 0 | low | 1.3129 | 294.9146 | NA | NA | 1.3129 | 294.9146
0164 | Catfish | top | 1 | 2022-07-28 | 48.2215 | 10.765 | 3957.801 | 525.477 | 2022-10-14 | EDC_D_76 | NA | NA | 0 | low | 21.8507 | 844.0292 | NA | NA | 21.8507 | 844.0292
0165 | Catfish | top | 2 | 2022-07-28 | 68.758 | 15.601 | 4410.3366 | 580.991 | 2022-10-14 | EDC_D_77 | NA | NA | 0 | low | 30.9578 | 939.9193 | NA | NA | 30.9578 | 939.9193
0166 | Catfish | top | 3 | 2022-07-28 | 20.7108 | 4.491 | 4756.313 | 625.84 | 2022-10-14 | EDC_D_78 | Hard to pull | NA | 0 | low | 9.6509 | 1013.23 | NA | NA | 9.6509 | 1013.23
0167 | Catfish | bottom | 1 | 2022-07-28 | NA | NA | 22836.0268 | 2766.542H8:I8 | 2022-10-14 | EDC_D_79 | Hard to pull; double peak | NA | 0 | high | NA | 4844.2333 | NA | NA | NA | 4844.2333
0167 | Catfish | bottom | 1 | 2022-07-28 | 1.7659 | 0.394 | 160.574 | 22.591 | 2022-10-14 | EDC_D_80 | Possibly could not retrieve enough gas | 1 mL in 10mL glass syringe | 1 | low | 1.2496 | 39.4152 | 1 | 10 | 12.4962 | 394.1525
0168 | Catfish | bottom | 2 | 2022-07-28 | 2649.6031 | 572.817 | 1569.6392 | 225.467 | 2022-10-14 | EDC_D_81 | NA | 1 mL in 10mL glass syringe | 1 | high | 575.7675 | 337.9893 | 1 | 10 | 5757.6749 | 3379.8931
0168 | Catfish | bottom | 2 | 2022-07-28 | 364.2194 | 89.914 | 172.2713 | 24.519 | 2022-10-14 | EDC_D_82 | NA | 0.1mL in 10mL glass syringe | 1 | high | 94.7281 | 41.8939 | 0.1 | 10 | 9472.8097 | 4189.385
0169 | Catfish | bottom | 3 | 2022-07-28 | 957.0707 | 223.947 | 409.2728 | 61.482 | 2022-10-14 | EDC_D_83 | NA | 0.1mL in 10mL glass syringe | 1 | high | 219.5145 | 92.1133 | 0.1 | 10 | 21951.4508 | 9211.3314
0170 | Catfish | outlet | 1 | 2022-07-28 | 6.2699 | 1.314 | 8893.9685 | 1128.207 | 2022-10-14 | EDC_D_84 | NA | NA | 0 | low | 3.247 | 1889.979 | NA | NA | 3.247 | 1889.979
calibration check 30 ppm CH4, 2000 ppm CO2 | NA | NA | NA | NA | 29.3506 | 7.072 | 4752.0642 | 645.05 | 2022-10-14 | EDC_D_85 | Didn't properly flush the sample loop | NA | 0 | low | 13.4823 | 1012.3297 | NA | NA | 13.4823 | 1012.3297
calibration check 30 ppm CH4, 2000 ppm CO2 | NA | NA | NA | NA | 77.4997 | 17.807 | 11654.0728 | 1459.226 | 2022-10-14 | EDC_D_86 | NA | NA | 0 | high | 34.3778 | 2474.8317 | NA | NA | 34.3778 | 2474.8317
calibration check 30 ppm CH4, 2000 ppm CO2 | NA | NA | NA | NA | 77.902 | 17.81 | 11579.0475 | 1451.803 | 2022-10-14 | EDC_D_87 | NA | NA | 0 | high | 34.4625 | 2458.9342 | NA | NA | 34.4625 | 2458.9342
0171 | Catfish | outlet | 2 | 2022-07-28 | 4.5554 | 0.939 | 8471.8491 | 1077.344 | 2022-10-14 | EDC_D_88 | NA | NA | 0 | low | 2.4866 | 1800.534 | NA | NA | 2.4866 | 1800.534
0172 | Catfish | outlet | 3 | 2022-07-28 | 4.2328 | 0.878 | 7819.6836 | 997.78 | 2022-10-14 | EDC_D_89 | NA | NA | 0 | low | 2.3436 | 1662.3433 | NA | NA | 2.3436 | 1662.3433

## run calibration check
ID | Vial | CH4 area | CH4 hgt | CO2 area | CO2 hgt | Run Date | File name | dev CH4 | dev Co2
1 | [7 empty] | #DIV/0! | #DIV/0! | std curve 200 ppm CH4 | 0
2 | [7 empty] | #DIV/0! | #DIV/0! | std curve 10000 ppm CO2 | 0
3 | [7 empty] | #DIV/0! | #DIV/0!
4 | [7 empty] | #DIV/0! | #DIV/0!
5 | [7 empty] | #DIV/0! | #DIV/0!
6 | [7 empty] | #DIV/0! | #DIV/0!
7 | [7 empty] | #DIV/0! | #DIV/0!
8 | [7 empty] | #DIV/0! | #DIV/0!
9 | [7 empty] | #DIV/0! | #DIV/0!
10 | [7 empty] | #DIV/0! | #DIV/0!
11 | [7 empty] | #DIV/0! | #DIV/0!

## dilution factor
Date | 2022-10-12
CH4 conc | 10000 ppm
CO2 conc | 20000 ppm
Vial # | CH4 Peak area | CH4 Peak hgt | CO2 Peak area | CO2 Peak hgt |  | Std area | Raw data area | Avg area | Dilution Factor
Dilution 1 | 1989.5816 | 384.814 | 3549.7964 | 274.693 | CH4 | 2312.2793 | 2312.0881 | 2312.1837 | 1.134
Dilution 2 | 2065.7646 | 397.852 | 3659.4972 | 230.178 | CO2 | 4349.91 | 4350.8949 | 4350.4024 | 1.2004
Dilution 3 | 2061.4882 | 396.334 | 3663.024 | 279.89
Avg area | 2038.9448 |  | 3624.1059